## GENNAIO 2022
MONITORAGGIO QUALITA delle ACQUE BISELLI - anno 2022 - - criterio 3.2.5 ASC Freshwater trout Standard (Appendix IIB) -
DATE | ANALYSIS | LOCATION | METHOD | SAMPLING BY THIRD PARTY? | ANALYSIS BY THIRD PARTY | RESULT
2022-01-11 | pH | INLET | SINGLE GRAB | YES | YES | 7.4
| SOS (mg/l) | INLET | SINGLE GRAB | YES | YES | 3
| BOD (mg/l) | INLET | SINGLE GRAB | YES | YES | 5
| COD (mg/l) | INLET | SINGLE GRAB | YES | YES | 5
| N amm (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.06
| N nitrico (mg/l) | INLET | SINGLE GRAB | YES | YES | 1.7
| P tot (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| pH | OUTLET | SINGLE GRAB | YES | YES | 7.45
| SOS (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 15
| BOD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 3
| COD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 11
| N amm (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.2
| N nitroso (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.12
| N nitrico (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 1.7
| P tot (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.1

## FEBBRAIO 2022
MONITORAGGIO QUALITA delle ACQUE BISELLI - anno 2022 - - criterio 3.2.5 ASC Freshwater trout Standard (Appendix IIB) -
DATE | ANALYSIS | LOCATION | METHOD | SAMPLING BY THIRD PARTY? | ANALYSIS BY THIRD PARTY | RESULT
2022-02-15 | pH | INLET | SINGLE GRAB | YES | YES | 7.35
| SOS (mg/l) | INLET | SINGLE GRAB | YES | YES | 2
| BOD (mg/l) | INLET | SINGLE GRAB | YES | YES | 5
| COD (mg/l) | INLET | SINGLE GRAB | YES | YES | 5
| N amm (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.05
| N nitrico (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.8
| P tot (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| pH | OUTLET | SINGLE GRAB | YES | YES | 7.38
| SOS (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 13
| BOD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 4
| COD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 12
| N amm (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.2
| N nitroso (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.16
| N nitrico (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 1.8
| P tot (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.1

## MARZO 2022
MONITORAGGIO QUALITA delle ACQUE BISELLI - anno 2022 - - criterio 3.2.5 ASC Freshwater trout Standard (Appendix IIB) -
DATE | ANALYSIS | LOCATION | METHOD | SAMPLING BY THIRD PARTY? | ANALYSIS BY THIRD PARTY | RESULT
2022-03-18 | pH | INLET | SINGLE GRAB | YES | YES | 7.6
| SOS (mg/l) | INLET | SINGLE GRAB | YES | YES | 1
| BOD (mg/l) | INLET | SINGLE GRAB | YES | YES | 1
| COD (mg/l) | INLET | SINGLE GRAB | YES | YES | 1
| N amm (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.01
| N nitrico (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.6
| P tot (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.01
| pH | OUTLET | SINGLE GRAB | YES | YES | 7.7
| SOS (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 16
| BOD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 2
| COD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 6
| N amm (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 1.3
| N nitroso (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.19
| N nitrico (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 1.2
| P tot (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.16

## APRILE 2022
MONITORAGGIO QUALITA delle ACQUE BISELLI - anno 2022 - - criterio 3.2.5 ASC Freshwater trout Standard (Appendix IIB) -
DATE | ANALYSIS | LOCATION | METHOD | SAMPLING BY THIRD PARTY? | ANALYSIS BY THIRD PARTY | RESULT
2022-04-07 | pH | INLET | SINGLE GRAB | YES | YES | 7.2
| SOS (mg/l) | INLET | SINGLE GRAB | YES | YES | 3
| BOD (mg/l) | INLET | SINGLE GRAB | YES | YES | 5
| COD (mg/l) | INLET | SINGLE GRAB | YES | YES | 5
| N amm (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.07
| N nitrico (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.8
| P tot (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.01
| pH | OUTLET | SINGLE GRAB | YES | YES | 7.35
| SOS (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 14
| BOD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 3
| COD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 11
| N amm (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.2
| N nitroso (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.15
| N nitrico (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 1.6
| P tot (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.1

## MAGGIO 2022
MONITORAGGIO QUALITA delle ACQUE BISELLI - anno 2022 - - criterio 3.2.5 ASC Freshwater trout Standard (Appendix IIB) -
DATE | ANALYSIS | LOCATION | METHOD | SAMPLING BY THIRD PARTY? | ANALYSIS BY THIRD PARTY | RESULT
2022-05-17 | pH | INLET | SINGLE GRAB | YES | YES | 7.25
| SOS (mg/l) | INLET | SINGLE GRAB | YES | YES | 5
| BOD (mg/l) | INLET | SINGLE GRAB | YES | YES | 5
| COD (mg/l) | INLET | SINGLE GRAB | YES | YES | 5
| N amm (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.09
| N nitrico (mg/l) | INLET | SINGLE GRAB | YES | YES | 1
| P tot (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| pH | OUTLET | SINGLE GRAB | YES | YES | 7.3
| SOS (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 16
| BOD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 6
| COD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 14
| N amm (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.2
| N nitroso (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.18
| N nitrico (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 1.9
| P tot (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.1

## GIUGNO 2022
MONITORAGGIO QUALITA delle ACQUE BISELLI - anno 2022 - - criterio 3.2.5 ASC Freshwater trout Standard (Appendix IIB) -
DATE | ANALYSIS | LOCATION | METHOD | SAMPLING BY THIRD PARTY? | ANALYSIS BY THIRD PARTY | RESULT
2022-06-14 | pH | INLET | SINGLE GRAB | YES | YES | 7.3
| SOS (mg/l) | INLET | SINGLE GRAB | YES | YES | 6
| BOD (mg/l) | INLET | SINGLE GRAB | YES | YES | 5
| COD (mg/l) | INLET | SINGLE GRAB | YES | YES | 5
| N amm (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| N nitrico (mg/l) | INLET | SINGLE GRAB | YES | YES | 1.1
| P tot (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| pH | OUTLET | SINGLE GRAB | YES | YES | 7.4
| SOS (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 19
| BOD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 6
| COD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 17
| N amm (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.2
| N nitroso (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.24
| N nitrico (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 1.7
| P tot (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.1

## LUGLIO 2022
MONITORAGGIO QUALITA delle ACQUE BISELLI - anno 2022 - - criterio 3.2.5 ASC Freshwater trout Standard (Appendix IIB) -
DATE | ANALYSIS | LOCATION | METHOD | SAMPLING BY THIRD PARTY? | ANALYSIS BY THIRD PARTY | RESULT
2022-07-14 | pH | INLET | SINGLE GRAB | YES | YES | 7.35
| SOS (mg/l) | INLET | SINGLE GRAB | YES | YES | 5
| BOD (mg/l) | INLET | SINGLE GRAB | YES | YES | 5
| COD (mg/l) | INLET | SINGLE GRAB | YES | YES | 5
| N amm (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.09
| N nitrico (mg/l) | INLET | SINGLE GRAB | YES | YES | 1.1
| P tot (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| pH | OUTLET | SINGLE GRAB | YES | YES | 7.5
| SOS (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 17
| BOD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 5
| COD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 18
| N amm (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.2
| N nitroso (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.31
| N nitrico (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 1.9
| P tot (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.1

## AGOSTO 2022
MONITORAGGIO QUALITA delle ACQUE BISELLI - anno 2022 - - criterio 3.2.5 ASC Freshwater trout Standard (Appendix IIB) -
DATE | ANALYSIS | LOCATION | METHOD | SAMPLING BY THIRD PARTY? | ANALYSIS BY THIRD PARTY | RESULT
2022-08-09 | pH | INLET | SINGLE GRAB | YES | YES | 7.4
| SOS (mg/l) | INLET | SINGLE GRAB | YES | YES | 5
| BOD (mg/l) | INLET | SINGLE GRAB | YES | YES | 5
| COD (mg/l) | INLET | SINGLE GRAB | YES | YES | 5
| N amm (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.09
| N nitrico (mg/l) | INLET | SINGLE GRAB | YES | YES | 1.1
| P tot (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| pH | OUTLET | SINGLE GRAB | YES | YES | 7.6
| SOS (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 16
| BOD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 5
| COD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 19
| N amm (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.2
| N nitroso (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.28
| N nitrico (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 1.9
| P tot (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.1

## SETTEMBRE 2022
MONITORAGGIO QUALITA delle ACQUE BISELLI - anno 2022 - - criterio 3.2.5 ASC Freshwater trout Standard (Appendix IIB) -
DATE | ANALYSIS | LOCATION | METHOD | SAMPLING BY THIRD PARTY? | ANALYSIS BY THIRD PARTY | RESULT
2022-09-15 | pH | INLET | SINGLE GRAB | YES | YES | 7.45
| SOS (mg/l) | INLET | SINGLE GRAB | YES | YES | 4
| BOD (mg/l) | INLET | SINGLE GRAB | YES | YES | 5
| COD (mg/l) | INLET | SINGLE GRAB | YES | YES | 5
| N amm (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| N nitrico (mg/l) | INLET | SINGLE GRAB | YES | YES | 1.2
| P tot (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| pH | OUTLET | SINGLE GRAB | YES | YES | 7.5
| SOS (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 19
| BOD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 7
| COD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 23
| N amm (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.2
| N nitroso (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.31
| N nitrico (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 1.9
| P tot (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.1

## OTTOBRE 2022
MONITORAGGIO QUALITA delle ACQUE BISELLI - anno 2022 - - criterio 3.2.5 ASC Freshwater trout Standard (Appendix IIB) -
DATE | ANALYSIS | LOCATION | METHOD | SAMPLING BY THIRD PARTY? | ANALYSIS BY THIRD PARTY | RESULT
2022-10-31 | pH | INLET | SINGLE GRAB | YES | YES | 7.8
| SOS (mg/l) | INLET | SINGLE GRAB | YES | YES | 20
| BOD (mg/l) | INLET | SINGLE GRAB | YES | YES | 1
| COD (mg/l) | INLET | SINGLE GRAB | YES | YES | 10
| N amm (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.04
| N nitroso (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.015
| N nitrico (mg/l) | INLET | SINGLE GRAB | YES | YES | 1.03
| P tot (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.37
| pH | OUTLET | SINGLE GRAB | YES | YES | 7.6
| SOS (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 20
| BOD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 1
| COD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 10
| N amm (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.374
| N nitroso (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.0216
| N nitrico (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 1.01
| P tot (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.37

## NOVEMBRE 2022
MONITORAGGIO QUALITA delle ACQUE BISELLI - anno 2022 - - criterio 3.2.5 ASC Freshwater trout Standard (Appendix IIB) -
DATE | ANALYSIS | LOCATION | METHOD | SAMPLING BY THIRD PARTY? | ANALYSIS BY THIRD PARTY | RESULT
2022-11-22 | pH | INLET | SINGLE GRAB | YES | YES | 7.4
| SOS (mg/l) | INLET | SINGLE GRAB | YES | YES | 7
| BOD (mg/l) | INLET | SINGLE GRAB | YES | YES | 5
| COD (mg/l) | INLET | SINGLE GRAB | YES | YES | 5
| N amm (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.16
| N nitrico (mg/l) | INLET | SINGLE GRAB | YES | YES | 1.4
| P tot (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| pH | OUTLET | SINGLE GRAB | YES | YES | 7.46
| SOS (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 22
| BOD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 8
| COD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 24
| N amm (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.2
| N nitroso (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.3
| N nitrico (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 1.5
| P tot (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.1

## DICEMBRE 2022
MONITORAGGIO QUALITA delle ACQUE BISELLI - anno 2022 - - criterio 3.2.5 ASC Freshwater trout Standard (Appendix IIB) -
DATE | ANALYSIS | LOCATION | METHOD | SAMPLING BY THIRD PARTY? | ANALYSIS BY THIRD PARTY | RESULT
2022-12-13 | pH | INLET | SINGLE GRAB | YES | YES | 7.3
| SOS (mg/l) | INLET | SINGLE GRAB | YES | YES | 5
| BOD (mg/l) | INLET | SINGLE GRAB | YES | YES | 5
| COD (mg/l) | INLET | SINGLE GRAB | YES | YES | 5
| N amm (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.12
| N nitrico (mg/l) | INLET | SINGLE GRAB | YES | YES | 1.2
| P tot (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| pH | OUTLET | SINGLE GRAB | YES | YES | 7.5
| SOS (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 24
| BOD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 9
| COD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 26
| N amm (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.3
| N nitroso (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.35
| N nitrico (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 1.7
| P tot (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.1

## SATURAZIONE OSSIGENO
SATURAZIONE MINIMA di OSSIGENO DISCIOLTO BISELLI - anno 2022 - - criterio 3.2.2 ASC Freshwater trout Standard (Appendix IIB) -
ACQUA IN USCITA VASCHE ALLEVAMENTO
MESE | DATA RILEVAZIONE | OSSIGENO DISCIOLTO [mg/l] | TEMPERATURA [°C] | PRESSIONE [mmHg] | VALORE SATURAZIONE DI O2 [mg/l] | SATURAZIONE PERCENTUALE [%]
GENNAIO | 2022-01-11 | 10 | 9 | 715.28 | 10.9345 | 91.4538
FEBBRAIO | 2022-02-15 | 10 | 9.3 | 715.28 | 10.8579 | 92.0989
MARZO | 2022-03-18 | 9.9 | 10.9 | 715.28 | 10.4632 | 94.6173
APRILE | 2022-04-07 | 10 | 10.9 | 715.28 | 10.4632 | 95.5731
MAGGIO | 2022-05-17 | 9.9 | 11.2 | 715.28 | 10.3921 | 95.2643
GIUGNO | 2022-06-14 | 9.8 | 11.9 | 715.28 | 10.2227 | 95.8647
LUGLIO | 2022-07-14 | 10 | 12.1 | 715.28 | 10.1809 | 98.223
AGOSTO | 2022-08-09 | 9.6 | 12.4 | 715.28 | 10.7813 | 89.043
SETTEMBRE | 2022-09-15 | 9.4 | 12.1 | 715.28 | 10.1809 | 92.3296
OTTOBRE | 2022-10-31 | 9.3 | 10.3 | 715.28 | 10.6072 | 87.6763
NOVEMBRE | 2022-11-22 | 9.8 | 10.1 | 715.28 | 10.6552 | 91.9739
DICEMBRE | 2022-12-13 | 9.9 | 9.8 | 715.28 | 10.7303 | 92.2625
La % di saturazione di OD (concentrazione di ossigeno disciolto; in inglese DO) è data dal rapporto, in % appunto, tra l'effettiva quantità di OD e il massimo valore possibile in funzione della temperatura e dell'altitudine.
Altitudine BISELLI= 490m.
Pressione in funzione dell'altitudine: p= 0,9877q; dove P=pressione in atm - q=altitudine in centinaia di metri (nel caso di Biselli q=4,9), da cui p=0,9411atm (715,28mm di Hg)
Dalla Tabella allegata si ottengono i valori di saturazione di O2
| °C | 720mm | 710mm | 715,28mm | valore saturazione
temperatura più bassa | 8 | 11.27 | 11.11 | 11.1945 | 10.9345
temperatura più alta | 9 | 11.01 | 10.85 | 10.9345
temperatura rilevata | 9
temperatura più bassa | 9 | 11.01 | 10.85 | 10.9345 | 10.7813
temperatura più alta | 10 | 10.75 | 10.6 | 10.6792
temperatura rilevata | 9.6
temperatura più bassa | 10 | 10.75 | 10.6 | 10.6792 | 10.6072
temperatura più alta | 11 | 10.51 | 10.36 | 10.4392
temperatura rilevata | 10.3
temperatura più bassa | 11 | 10.51 | 10.36 | 10.4392 | 10.2274
temperatura più alta | 12 | 10.27 | 10.13 | 10.2039
temperatura rilevata | 11.9
temperatura più bassa | 12 | 10.27 | 10.13 | 10.2039 | 10.1809
temperatura più alta | 13 | 10.04 | 9.9 | 9.9739
temperatura rilevata | 12.1
temperatura più bassa | 13 | 10.04 | 9.9 | 9.9739 | 9.9319
temperatura più alta | 14 | 9.83 | 9.69 | 9.7639
temperatura rilevata | 13.2