## GENNAIO 2022
DATE | ANALYSIS | LOCATION | METHOD | SAMPLING BY THIRD PARTY? | ANALYSIS BY THIRD PARTY | RESULT
2022-01-11 | pH | INLET | SINGLE GRAB | YES | YES | 7.3
| SOS (mg/l) | INLET | SINGLE GRAB | YES | YES | 3
| BOD (mg/l) | INLET | SINGLE GRAB | YES | YES | 5
| COD (mg/l) | INLET | SINGLE GRAB | YES | YES | 5
| N amm (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.07
| N nitrico (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.7
| P tot (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| pH | OUTLET | SINGLE GRAB | YES | YES | 7.4
| SOS (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 16
| BOD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 5
| COD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 10
| N amm (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.2
| N nitroso (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.19
| N nitrico (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 1.6
| P tot (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.1

## FEBBRAIO 2022
DATE | ANALYSIS | LOCATION | METHOD | SAMPLING BY THIRD PARTY? | ANALYSIS BY THIRD PARTY | RESULT
2022-02-08 | pH | INLET | SINGLE GRAB | YES | YES | 7.3
| SOS (mg/l) | INLET | SINGLE GRAB | YES | YES | 4
| BOD (mg/l) | INLET | SINGLE GRAB | YES | YES | 5
| COD (mg/l) | INLET | SINGLE GRAB | YES | YES | 5
| N amm (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.09
| N nitroso (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.07
| N nitrico (mg/l) | INLET | SINGLE GRAB | YES | YES | 2
| P tot (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| pH | OUTLET | SINGLE GRAB | YES | YES | 7.4
| SOS (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 16
| BOD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 5
| COD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 10
| N amm (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.2
| N nitroso (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.19
| N nitrico (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 1.6
| P tot (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.1

## MARZO 2022
DATE | ANALYSIS | LOCATION | METHOD | SAMPLING BY THIRD PARTY? | ANALYSIS BY THIRD PARTY | RESULT
2022-03-30 | pH | INLET | SINGLE GRAB | YES | YES | 8.3
| SOS (mg/l) | INLET | SINGLE GRAB | YES | YES | 24
| BOD (mg/l) | INLET | SINGLE GRAB | YES | YES | 5
| COD (mg/l) | INLET | SINGLE GRAB | YES | YES | 5
| N amm (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.05
| N nitroso (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.04
| N nitrico (mg/l) | INLET | SINGLE GRAB | YES | YES | 2.4
| P tot (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.05
| pH | OUTLET | SINGLE GRAB | YES | YES | 8.4
| SOS (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 20
| BOD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 5.8
| COD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 10
| N amm (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.37
| N nitroso (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.015
| N nitrico (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.42
| P tot (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.16

## APRILE 2022
DATE | ANALYSIS | LOCATION | METHOD | SAMPLING BY THIRD PARTY? | ANALYSIS BY THIRD PARTY | RESULT
2022-04-19 | pH | INLET | SINGLE GRAB | YES | YES | 7.2
| SOS (mg/l) | INLET | SINGLE GRAB | YES | YES | 4
| BOD (mg/l) | INLET | SINGLE GRAB | YES | YES | 5
| COD (mg/l) | INLET | SINGLE GRAB | YES | YES | 5
| N amm (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.08
| N nitrico (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.7
| P tot (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| pH | OUTLET | SINGLE GRAB | YES | YES | 7.3
| SOS (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 14
| BOD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 5
| COD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 9
| N amm (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.2
| N nitroso (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.23
| N nitrico (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 1.4
| P tot (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.1

## MAGGIO 2022
DATE | ANALYSIS | LOCATION | METHOD | SAMPLING BY THIRD PARTY? | ANALYSIS BY THIRD PARTY | RESULT
2022-05-17 | pH | INLET | SINGLE GRAB | YES | YES | 7.3
| SOS (mg/l) | INLET | SINGLE GRAB | YES | YES | 6
| BOD (mg/l) | INLET | SINGLE GRAB | YES | YES | 5
| COD (mg/l) | INLET | SINGLE GRAB | YES | YES | 5
| N amm (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.11
| N nitrico (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.6
| P tot (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| pH | OUTLET | SINGLE GRAB | YES | YES | 7.3
| SOS (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 19
| BOD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 5
| COD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 19
| N amm (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.2
| N nitroso (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.29
| N nitrico (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 1.6
| P tot (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.2

## GIUGNO 2022
DATE | ANALYSIS | LOCATION | METHOD | SAMPLING BY THIRD PARTY? | ANALYSIS BY THIRD PARTY | RESULT
2022-06-14 | pH | INLET | SINGLE GRAB | YES | YES | 7.35
| SOS (mg/l) | INLET | SINGLE GRAB | YES | YES | 8
| BOD (mg/l) | INLET | SINGLE GRAB | YES | YES | 5
| COD (mg/l) | INLET | SINGLE GRAB | YES | YES | 5
| N amm (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.6
| N nitrico (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.6
| P tot (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| pH | OUTLET | SINGLE GRAB | YES | YES | 7.4
| SOS (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 21
| BOD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 6
| COD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 16
| N amm (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.2
| N nitroso (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.24
| N nitrico (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 1.8
| P tot (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.2

## LUGLIO 2022
DATE | ANALYSIS | LOCATION | METHOD | SAMPLING BY THIRD PARTY? | ANALYSIS BY THIRD PARTY | RESULT
2022-07-27 | pH | INLET | SINGLE GRAB | YES | YES | 8.3
| SOS (mg/l) | INLET | SINGLE GRAB | YES | YES | 20
| BOD (mg/l) | INLET | SINGLE GRAB | YES | YES | 1.83
| COD (mg/l) | INLET | SINGLE GRAB | YES | YES | 10
| N amm (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.04
| N nitroso (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.015
| N nitrico (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.54
| P tot (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.16
| pH | OUTLET | SINGLE GRAB | YES | YES | 8.1
| SOS (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 20
| BOD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 3.84
| COD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 10
| N amm (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.85
| N nitroso (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.015
| N nitrico (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.58
| P tot (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.16

## AGOSTO 2022
DATE | ANALYSIS | LOCATION | METHOD | SAMPLING BY THIRD PARTY? | ANALYSIS BY THIRD PARTY | RESULT
2022-08-09 | pH | INLET | SINGLE GRAB | YES | YES | 7.3
| SOS (mg/l) | INLET | SINGLE GRAB | YES | YES | 4
| BOD (mg/l) | INLET | SINGLE GRAB | YES | YES | 5
| COD (mg/l) | INLET | SINGLE GRAB | YES | YES | 5
| N amm (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.09
| N nitrico (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.6
| P tot (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| pH | OUTLET | SINGLE GRAB | YES | YES | 7.5
| SOS (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 23
| BOD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 7
| COD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 19
| N amm (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.2
| N nitroso (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.26
| N nitrico (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 1.8
| P tot (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.2

## SETTEMBRE 2022
DATE | ANALYSIS | LOCATION | METHOD | SAMPLING BY THIRD PARTY? | ANALYSIS BY THIRD PARTY | RESULT
2022-09-20 | pH | INLET | SINGLE GRAB | YES | YES | 7.2
| SOS (mg/l) | INLET | SINGLE GRAB | YES | YES | 6
| BOD (mg/l) | INLET | SINGLE GRAB | YES | YES | 5
| COD (mg/l) | INLET | SINGLE GRAB | YES | YES | 5
| N amm (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.08
| N nitrico (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.5
| P tot (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.17
| pH | OUTLET | SINGLE GRAB | YES | YES | 7.3
| SOS (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 18
| BOD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 5
| COD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 15
| N amm (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.2
| N nitroso (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.21
| N nitrico (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 1
| P tot (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.04

## OTTOBRE 2022
DATE | ANALYSIS | LOCATION | METHOD | SAMPLING BY THIRD PARTY? | ANALYSIS BY THIRD PARTY | RESULT
2022-10-28 | pH | INLET | SINGLE GRAB | YES | YES | 7.2
| SOS (mg/l) | INLET | SINGLE GRAB | YES | YES | 6
| BOD (mg/l) | INLET | SINGLE GRAB | YES | YES | 5
| COD (mg/l) | INLET | SINGLE GRAB | YES | YES | 5
| N amm (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.08
| N nitrico (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.5
| P tot (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| pH | OUTLET | SINGLE GRAB | YES | YES | 7.3
| SOS (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 18
| BOD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 5
| COD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 15
| N amm (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.2
| N nitroso (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.21
| N nitrico (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 1
| P tot (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.2

## NOVEMBRE 2022
DATE | ANALYSIS | LOCATION | METHOD | SAMPLING BY THIRD PARTY? | ANALYSIS BY THIRD PARTY | RESULT
2022-11-08 | pH | INLET | SINGLE GRAB | YES | YES | 8.5
| SOS (mg/l) | INLET | SINGLE GRAB | YES | YES | 10
| BOD (mg/l) | INLET | SINGLE GRAB | YES | YES | 5
| COD (mg/l) | INLET | SINGLE GRAB | YES | YES | 15
| N amm (mg/l) | INLET | SINGLE GRAB | YES | YES | 1
| N nitroso (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.06
| N nitrico (mg/l) | INLET | SINGLE GRAB | YES | YES | 2.3
| P tot (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.03
| pH | OUTLET | SINGLE GRAB | YES | YES | 7.9
| SOS (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 10
| BOD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 5
| COD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 15
| N amm (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 1
| N nitroso (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.06
| N nitrico (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 2.3
| P tot (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.12

## DICEMBRE 2022
DATE | ANALYSIS | LOCATION | METHOD | SAMPLING BY THIRD PARTY? | ANALYSIS BY THIRD PARTY | RESULT
2020-12-15 | pH | INLET | SINGLE GRAB | YES | YES | 7.25
| SOS (mg/l) | INLET | SINGLE GRAB | YES | YES | 8
| BOD (mg/l) | INLET | SINGLE GRAB | YES | YES | 5
| COD (mg/l) | INLET | SINGLE GRAB | YES | YES | 5
| N amm (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.02
| N nitrico (mg/l) | INLET | SINGLE GRAB | YES | YES | 1.5
| P tot (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| pH | OUTLET | SINGLE GRAB | YES | YES | 7.23
| SOS (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 11
| BOD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 5
| COD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 6
| N amm (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.04
| N nitrico (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 1.7
| P tot (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.1

## SATURAZIONE OSSIGENO
SATURAZIONE MINIMA di OSSIGENO DISCIOLTO
- criterio 3.2.2 ASC Freshwater trout Standard (Appendix IIB) -
ACQUA IN USCITA VASCHE ALLEVAMENTO
MESE | DATA RILEVAZIONE | OSSIGENO DISCIOLTO [mg/l] | TEMPERATURA [°C] | PRESSIONE [mmHg] | VALORE SATURAZIONE DI O2 [mg/l] | SATURAZIONE PERCENTUALE [%]
GENNAIO | 2022-01-11 | 10.1 | 9.5 | 714.39 | 10.793 | 93.5788
FEBBRAIO | 2022-02-08 | 10.2 | 9.2 | 714.39 | 10.8694 | 93.8418
MARZO | 2022-03-30 | 10 | 9.4 | 714.39 | 10.8185 | 92.4344
APRILE | 2022-04-19 | 10 | 9.8 | 714.39 | 10.7167 | 93.3121
MAGGIO | 2022-05-17 | 10.1 | 10.2 | 714.39 | 10.6179 | 95.1228
GIUGNO | 2022-06-14 | 9.9 | 11.8 | 714.39 | 10.2383 | 96.6954
LUGLIO | 2022-07-27 | 9.8 | 12 | 714.39 | 10.1915 | 96.1589
AGOSTO | 2022-08-09 | 9.8 | 12.9 | 714.39 | 9.9615 | 98.3792
SETTEMBRE | 2022-09-20 | 9.7 | 13.1 | 714.39 | 9.9405 | 97.581
OTTOBRE | 2022-10-28 | 10 | 11.7 | 714.39 | 10.2618 | 97.449
NOVEMBRE | 2022-11-08 | 9.9 | 11.5 | 714.39 | 10.3087 | 96.0358
DICEMBRE | 2022-12-15 | 10.3 | 9.9 | 714.39 | 10.6913 | 96.3401
La % di saturazione di OD (concentrazione di ossigeno disciolto; in inglese DO) è data dal rapporto, in % appunto, tra l'effettiva quantità di OD e il massimo valore possibile in funzione della temperatura e dell'altitudine.
Altitudine SEFRO= 500m.
Pressione in funzione dell'altitudine: p= 0,9877q; dove P=pressione in atm - q=altitudine in centinaia di metri (nel caso di SEFRO q=5), da cui p=0,93999atm (714,39mm di Hg)
Dalla Tabella allegata si ottengono i valori di saturazione di O2
| °C | 720mm | 710mm | 714,39mm | valore saturazione (output)
temperatura più bassa | 8 | 11.27 | 11.11 | 11.1802 | 11.0502
temperatura più alta | 9 | 11.01 | 10.85 | 10.9202
temperatura rilevata (input) | 8.5
temperatura più bassa | 9 | 11.01 | 10.85 | 10.9202 | 10.6913
temperatura più alta | 10 | 10.75 | 10.6 | 10.6658
temperatura rilevata (input) | 9.9
temperatura più bassa | 10 | 10.75 | 10.6 | 10.6658 | 10.6178
temperatura più alta | 11 | 10.51 | 10.36 | 10.4258
temperatura rilevata (input) | 10.2
temperatura più bassa | 11 | 10.51 | 10.36 | 10.4258 | 10.3087
temperatura più alta | 12 | 10.27 | 10.13 | 10.1915
temperatura rilevata (input) | 11.5
temperatura più bassa | 12 | 10.27 | 10.13 | 10.1915 | 9.9615
temperatura più alta | 13 | 10.04 | 9.9 | 9.9615
temperatura rilevata (input) | 13
temperatura più bassa | 13 | 10.04 | 9.9 | 9.9615 | 9.9405
temperatura più alta | 14 | 9.83 | 9.69 | 9.7515
temperatura rilevata (input) | 13.1