## GENNAIO 2024
MONITORAGGIO QUALITA delle ACQUE FREDDARA - anno 2024 - - criterio 3.2.5 ASC Freshwater trout Standard (Appendix IIB) -
DATE | ANALYSIS | LOCATION | METHOD | SAMPLING BY THIRD PARTY? | ANALYSIS BY THIRD PARTY | RESULT
2024-01-16 | pH | INLET | SINGLE GRAB | YES | YES | 7.4
| SOS (mg/l) | INLET | SINGLE GRAB | YES | YES | 2
| BOD (mg/l) | INLET | SINGLE GRAB | YES | YES | 5
| COD (mg/l) | INLET | SINGLE GRAB | YES | YES | 5
| N amm (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| N nitrico (mg/l) | INLET | SINGLE GRAB | YES | YES | 1.4
| P tot (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| pH | OUTLET | SINGLE GRAB | YES | YES | 7.4
| SOS (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 14
| BOD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 5
| COD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 6
| N amm (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.16
| N nitrico (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 1.5
| P tot (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.1

## FEBBRAIO 2024
MONITORAGGIO QUALITA delle ACQUE FREDDARA - anno 2024 - - criterio 3.2.5 ASC Freshwater trout Standard (Appendix IIB) -
DATE | ANALYSIS | LOCATION | METHOD | SAMPLING BY THIRD PARTY? | ANALYSIS BY THIRD PARTY | RESULT
2024-02-13 | pH | INLET | SINGLE GRAB | YES | YES | 7.4
| SOS (mg/l) | INLET | SINGLE GRAB | YES | YES | 3
| BOD (mg/l) | INLET | SINGLE GRAB | YES | YES | 5
| COD (mg/l) | INLET | SINGLE GRAB | YES | YES | 5
| N amm (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.09
| N nitrico (mg/l) | INLET | SINGLE GRAB | YES | YES | 1.4
| P tot (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| pH | OUTLET | SINGLE GRAB | YES | YES | 7.5
| SOS (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 7
| BOD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 5
| COD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 7
| N amm (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.18
| N nitrico (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 1.7
| P tot (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.1

## MARZO 2024
MONITORAGGIO QUALITA delle ACQUE FREDDARA - anno 2024 - - criterio 3.2.5 ASC Freshwater trout Standard (Appendix IIB) -
DATE | ANALYSIS | LOCATION | METHOD | SAMPLING BY THIRD PARTY? | ANALYSIS BY THIRD PARTY | RESULT
2024-03-26 | pH | INLET | SINGLE GRAB | YES | YES | 7.6
| SOS (mg/l) | INLET | SINGLE GRAB | YES | YES | 1
| BOD (mg/l) | INLET | SINGLE GRAB | YES | YES | 1
| COD (mg/l) | INLET | SINGLE GRAB | YES | YES | 1
| N amm (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.01
| N nitrico (mg/l) | INLET | SINGLE GRAB | YES | YES | 1.1
| P tot (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.02
| pH | OUTLET | SINGLE GRAB | YES | YES | 7.7
| SOS (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 1
| BOD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 1
| COD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 1
| N amm (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.04
| N nitrico (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 1.2
| P tot (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.21

## APRILE 2024
MONITORAGGIO QUALITA delle ACQUE FREDDARA - anno 2024 - - criterio 3.2.5 ASC Freshwater trout Standard (Appendix IIB) -
DATE | ANALYSIS | LOCATION | METHOD | SAMPLING BY THIRD PARTY? | ANALYSIS BY THIRD PARTY | RESULT
2024-04-19 | pH | INLET | SINGLE GRAB | YES | YES | 7.2
| SOS (mg/l) | INLET | SINGLE GRAB | YES | YES | 2
| BOD (mg/l) | INLET | SINGLE GRAB | YES | YES | 5
| COD (mg/l) | INLET | SINGLE GRAB | YES | YES | 5
| N amm (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.06
| N nitrico (mg/l) | INLET | SINGLE GRAB | YES | YES | 1.3
| P tot (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| pH | OUTLET | SINGLE GRAB | YES | YES | 7.4
| SOS (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 15
| BOD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 5
| COD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 9
| N amm (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.2
| N nitrico (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 1.6
| P tot (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.1

## MAGGIO 2024
MONITORAGGIO QUALITA delle ACQUE FREDDARA - anno 2024 - - criterio 3.2.5 ASC Freshwater trout Standard (Appendix IIB) -
DATE | ANALYSIS | LOCATION | METHOD | SAMPLING BY THIRD PARTY? | ANALYSIS BY THIRD PARTY | RESULT
2024-05-21 | pH | INLET | SINGLE GRAB | YES | YES | 7.1
| SOS (mg/l) | INLET | SINGLE GRAB | YES | YES | 2
| BOD (mg/l) | INLET | SINGLE GRAB | YES | YES | 5
| COD (mg/l) | INLET | SINGLE GRAB | YES | YES | 5
| N amm (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.08
| N nitrico (mg/l) | INLET | SINGLE GRAB | YES | YES | 1.2
| P tot (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| pH | OUTLET | SINGLE GRAB | YES | YES | 7.2
| SOS (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 19
| BOD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 5
| COD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 12
| N amm (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.17
| N nitrico (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 1.5
| P tot (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.1

## GIUGNO 2024
MONITORAGGIO QUALITA delle ACQUE FREDDARA - anno 2024 - - criterio 3.2.5 ASC Freshwater trout Standard (Appendix IIB) -
DATE | ANALYSIS | LOCATION | METHOD | SAMPLING BY THIRD PARTY? | ANALYSIS BY THIRD PARTY | RESULT
2024-06-13 | pH | INLET | SINGLE GRAB | YES | YES | 7.1
| SOS (mg/l) | INLET | SINGLE GRAB | YES | YES | 4
| BOD (mg/l) | INLET | SINGLE GRAB | YES | YES | 5
| COD (mg/l) | INLET | SINGLE GRAB | YES | YES | 5
| N amm (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.09
| N nitrico (mg/l) | INLET | SINGLE GRAB | YES | YES | 1.1
| P tot (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| pH | OUTLET | SINGLE GRAB | YES | YES | 7.3
| SOS (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 22
| BOD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 5
| COD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 15
| N amm (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.26
| N nitrico (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 1.9
| P tot (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.1

## LUGLIO 2024
MONITORAGGIO QUALITA delle ACQUE FREDDARA - anno 2024 - - criterio 3.2.5 ASC Freshwater trout Standard (Appendix IIB) -
DATE | ANALYSIS | LOCATION | METHOD | SAMPLING BY THIRD PARTY? | ANALYSIS BY THIRD PARTY | RESULT
2024-07-16 | pH | INLET | SINGLE GRAB | YES | YES | 7.2
| SOS (mg/l) | INLET | SINGLE GRAB | YES | YES | 6
| BOD (mg/l) | INLET | SINGLE GRAB | YES | YES | 5
| COD (mg/l) | INLET | SINGLE GRAB | YES | YES | 5
| N amm (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.11
| N nitrico (mg/l) | INLET | SINGLE GRAB | YES | YES | 1.3
| P tot (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| pH | OUTLET | SINGLE GRAB | YES | YES | 7.3
| SOS (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 24
| BOD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 5
| COD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 13
| N amm (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.28
| N nitrico (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 1.9
| P tot (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.1

## AGOSTO 2024
MONITORAGGIO QUALITA delle ACQUE FREDDARA - anno 2024 - - criterio 3.2.5 ASC Freshwater trout Standard (Appendix IIB) -
DATE | ANALYSIS | LOCATION | METHOD | SAMPLING BY THIRD PARTY? | ANALYSIS BY THIRD PARTY | RESULT
2024-08-20 | pH | INLET | SINGLE GRAB | YES | YES | 7.2
| SOS (mg/l) | INLET | SINGLE GRAB | YES | YES | 6
| BOD (mg/l) | INLET | SINGLE GRAB | YES | YES | 5
| COD (mg/l) | INLET | SINGLE GRAB | YES | YES | 5
| N amm (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.11
| N nitrico (mg/l) | INLET | SINGLE GRAB | YES | YES | 1.3
| P tot (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| pH | OUTLET | SINGLE GRAB | YES | YES | 7.4
| SOS (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 20
| BOD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 5
| COD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 12
| N amm (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.19
| N nitrico (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 1.6
| P tot (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.1

## SETTEMBRE 2024
MONITORAGGIO QUALITA delle ACQUE FREDDARA - anno 2024 - - criterio 3.2.5 ASC Freshwater trout Standard (Appendix IIB) -
DATE | ANALYSIS | LOCATION | METHOD | SAMPLING BY THIRD PARTY? | ANALYSIS BY THIRD PARTY | RESULT
2024-09-17 | pH | INLET | SINGLE GRAB | YES | YES | 7.1
| SOS (mg/l) | INLET | SINGLE GRAB | YES | YES | 5
| BOD (mg/l) | INLET | SINGLE GRAB | YES | YES | 5
| COD (mg/l) | INLET | SINGLE GRAB | YES | YES | 5
| N amm (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.09
| N nitrico (mg/l) | INLET | SINGLE GRAB | YES | YES | 1.2
| P tot (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| pH | OUTLET | SINGLE GRAB | YES | YES | 7.2
| SOS (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 17
| BOD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 5
| COD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 10
| N amm (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.14
| N nitrico (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 1.5
| P tot (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.1

## OTTOBRE 2024
MONITORAGGIO QUALITA delle ACQUE FREDDARA - anno 2024 - - criterio 3.2.5 ASC Freshwater trout Standard (Appendix IIB) -
2024-10-29 | pH | INLET | SINGLE GRAB | YES | YES | 7.7
| SOS (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| BOD (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.5
| COD (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.5
| N amm (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.04
| N nitroso (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.015
| N nitrico (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.79
| P tot (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.37
| pH | OUTLET | SINGLE GRAB | YES | YES | 7.7
| SOS (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.1
| BOD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 2.04
| COD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 100
| N amm (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.05
| N nitroso (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.02
| N nitrico (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.9
| P tot (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.85

## NOVEMBRE 2024
MONITORAGGIO QUALITA delle ACQUE FREDDARA - anno 2024 - - criterio 3.2.5 ASC Freshwater trout Standard (Appendix IIB) -
DATE | ANALYSIS | LOCATION | METHOD | SAMPLING BY THIRD PARTY? | ANALYSIS BY THIRD PARTY | RESULT
2024-11-19 | pH | INLET | SINGLE GRAB | YES | YES | 7.1
| SOS (mg/l) | INLET | SINGLE GRAB | YES | YES | 3
| BOD (mg/l) | INLET | SINGLE GRAB | YES | YES | 5
| COD (mg/l) | INLET | SINGLE GRAB | YES | YES | 5
| N amm (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.05
| N nitrico (mg/l) | INLET | SINGLE GRAB | YES | YES | 1.1
| P tot (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| pH | OUTLET | SINGLE GRAB | YES | YES | 7.3
| SOS (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 14
| BOD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 5
| COD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 9
| N amm (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.16
| N nitrico (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 1.4
| P tot (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.1

## DICEMBRE 2024
MONITORAGGIO QUALITA delle ACQUE FREDDARA - anno 2024 - - criterio 3.2.5 ASC Freshwater trout Standard (Appendix IIB) -
DATE | ANALYSIS | LOCATION | METHOD | SAMPLING BY THIRD PARTY? | ANALYSIS BY THIRD PARTY | RESULT
2024-12-12 | pH | INLET | SINGLE GRAB | YES | YES | 7.3
| SOS (mg/l) | INLET | SINGLE GRAB | YES | YES | 3
| BOD (mg/l) | INLET | SINGLE GRAB | YES | YES | 5
| COD (mg/l) | INLET | SINGLE GRAB | YES | YES | 5
| N amm (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.12
| N nitrico (mg/l) | INLET | SINGLE GRAB | YES | YES | 1.5
| P tot (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| pH | OUTLET | SINGLE GRAB | YES | YES | 7.4
| SOS (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 20
| BOD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 5
| COD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 12
| N amm (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.14
| N nitrico (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 1.9
| P tot (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.1

## SATURAZIONE OSSIGENO
ACQUA IN USCITA VASCHE ALLEVAMENTO
MESE | DATA RILEVAZIONE | OSSIGENO DISCIOLTO [mg/l] | TEMPERATURA [°C] | PRESSIONE [mmHg] | VALORE SATURAZIONE DI O2 [mg/l] | SATURAZIONE PERCENTUALE [%]
GENNAIO | 2024-01-16 | 10.2 | 10.2 | 715.28 | 10.6312 | 95.944
FEBBRAIO | 2024-02-13 | 10.1 | 10.1 | 715.28 | 10.6552 | 94.7894
MARZO | 2024-03-26 | 10.1 | 12.4 | 715.28 | 10.1119 | 99.8821
APRILE | 2024-04-19 | 10 | 12.1 | 715.28 | 10.1809 | 98.223
MAGGIO | 2024-05-21 | 10.1 | 12.3 | 715.28 | 10.1349 | 99.6554
GIUGNO | 2024-06-13 | 9.8 | 13 | 715.28 | 9.9739 | 98.2563
LUGLIO | 2024-07-16 | 9.9 | 13.2 | 715.28 | 9.9319 | 99.6786
AGOSTO | 2024-08-20 | 9.9 | 13.1 | 715.28 | 9.9529 | 99.4683
SETTEMBRE | 2024-09-17 | 10 | 12.5 | 715.28 | 10.0889 | 99.1186
OTTOBRE | 2024-10-29 | 9.9 | 13.1 | 715.28 | 9.9529 | 99.4683
NOVEMBRE | 2024-11-28 | 10.4 | 10.4 | 715.28 | 10.5832 | 98.269
DICEMBRE | 2024-12-12 | 10.4 | 10 | 715.28 | 10.6792 | 97.3856
La % di saturazione di OD (concentrazione di ossigeno disciolto; in inglese DO) è data dal rapporto, in % appunto, tra l'effettiva quantità di OD e il massimo valore possibile in funzione della temperatura e dell'altitudine.
Altitudine FREDDARA= 490m.
Pressione in funzione dell'altitudine: p= 0,9877q; dove P=pressione in atm - q=altitudine in centinaia di metri (nel caso di FREDDARA q=4,9), da cui p=0,9411atm (715,28mm di Hg)
Dalla Tabella allegata si ottengono i valori di saturazione di O2
| °C | 720mm | 710mm | 715,28mm | valore saturazione (output)
temperatura più bassa | 8 | 11.27 | 11.11 | 11.1945 | 13.2745
temperatura più alta | 9 | 11.01 | 10.85 | 10.9345
temperatura rilevata (input)
temperatura più bassa | 9 | 11.01 | 10.85 | 10.9345 | 10.6792
temperatura più alta | 10 | 10.75 | 10.6 | 10.6792
temperatura rilevata (input) | 10
temperatura più bassa | 10 | 10.75 | 10.6 | 10.6792 | 10.5832
temperatura più alta | 11 | 10.51 | 10.36 | 10.4392
temperatura rilevata (input) | 10.4
temperatura più bassa | 11 | 10.51 | 10.36 | 10.4392 | 10.2274
temperatura più alta | 12 | 10.27 | 10.13 | 10.2039
temperatura rilevata (input) | 11.9
temperatura più bassa | 12 | 10.27 | 10.13 | 10.2039 | 10.0889
temperatura più alta | 13 | 10.04 | 9.9 | 9.9739
temperatura rilevata (input) | 12.5
temperatura più bassa | 13 | 10.04 | 9.9 | 9.9739 | 9.9529
temperatura più alta | 14 | 9.83 | 9.69 | 9.7639
temperatura rilevata (input) | 13.1