## GENNAIO
MONITORAGGIO QUALITA delle ACQUE OSOPPO - anno 2024 - - criterio 3.2.5 ASC Freshwater trout Standard (Appendix IIB) -
DATE | ANALYSIS | LOCATION | METHOD | SAMPLING BY THIRD PARTY? | ANALYSIS BY THIRD PARTY? | RESULT
2024-01-17 | pH | INLET | SINGLE GRAB | YES | YES | 7.2
| SOS (mg/l) | INLET | SINGLE GRAB | YES | YES | 3
| BOD (mg/l) | INLET | SINGLE GRAB | YES | YES | 1
| COD (mg/l) | INLET | SINGLE GRAB | YES | YES | 10
| N amm (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.01
| N nitrico (mg/l) | INLET | SINGLE GRAB | YES | YES | 5.5
| P tot (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.01
| pH | OUTLET | SINGLE GRAB | YES | YES | 7.6
| SOS (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 14
| BOD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 5
| COD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 10
| N amm (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.2
| N nitroso (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.23
| N nitrico (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 6.4
| P tot (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.09

## FEBBRAIO
MONITORAGGIO QUALITA delle ACQUE OSOPPO - anno 2024 - - criterio 3.2.5 ASC Freshwater trout Standard (Appendix IIB) -
DATE | ANALYSIS | LOCATION | METHOD | SAMPLING BY THIRD PARTY? | ANALYSIS BY THIRD PARTY? | RESULT
2024-02-21 | pH | INLET | SINGLE GRAB | YES | YES | 7.4
| SOS (mg/l) | INLET | SINGLE GRAB | YES | YES | 3
| BOD (mg/l) | INLET | SINGLE GRAB | YES | YES | 1
| COD (mg/l) | INLET | SINGLE GRAB | YES | YES | 10
| N amm (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.01
| N nitrico (mg/l) | INLET | SINGLE GRAB | YES | YES | 5.6
| P tot (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.01
| pH | OUTLET | SINGLE GRAB | YES | YES | 7.5
| SOS (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 11
| BOD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 3
| COD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 10
| N amm (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.19
| N nitrico (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 6.1
| P tot (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.02

## MARZO
MONITORAGGIO QUALITA delle ACQUE OSOPPO - anno 2024 - - criterio 3.2.5 ASC Freshwater trout Standard (Appendix IIB) -
DATE | ANALYSIS | LOCATION | METHOD | SAMPLING BY THIRD PARTY? | ANALYSIS BY THIRD PARTY? | RESULT
2024-03-29 | pH | INLET | SINGLE GRAB | YES | YES | 7.5
| SOS (mg/l) | INLET | SINGLE GRAB | YES | YES | 12
| BOD (mg/l) | INLET | SINGLE GRAB | YES | YES | 3
| COD (mg/l) | INLET | SINGLE GRAB | YES | YES | 10
| N amm (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.19
| N nitrico (mg/l) | INLET | SINGLE GRAB | YES | YES | 3
| P tot (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.06
| pH | OUTLET | SINGLE GRAB | YES | YES | 7.6
| SOS (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 17
| BOD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 8
| COD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 19
| N amm (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.2
| N nitroso (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.26
| N nitrico (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 5.4
| P tot (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.09

## APRILE
MONITORAGGIO QUALITA delle ACQUE OSOPPO - anno 2024 - - criterio 3.2.5 ASC Freshwater trout Standard (Appendix IIB) -
DATE | ANALYSIS | LOCATION | METHOD | SAMPLING BY THIRD PARTY? | ANALYSIS BY THIRD PARTY? | RESULT
2024-04-22 | pH | INLET | SINGLE GRAB | YES | YES | 7.5
| SOS (mg/l) | INLET | SINGLE GRAB | YES | YES | 10
| BOD (mg/l) | INLET | SINGLE GRAB | YES | YES | 4
| COD (mg/l) | INLET | SINGLE GRAB | YES | YES | 10
| N amm (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.16
| N nitrico (mg/l) | INLET | SINGLE GRAB | YES | YES | 2.6
| P tot (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.08
| pH | OUTLET | SINGLE GRAB | YES | YES | 7.7
| SOS (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 19
| BOD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 6
| COD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 17
| N amm (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.2
| N nitroso (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.26
| N nitrico (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 5.6
| P tot (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.09

## MAGGIO
MONITORAGGIO QUALITA delle ACQUE OSOPPO - anno 2024 - - criterio 3.2.5 ASC Freshwater trout Standard (Appendix IIB) -
DATE | ANALYSIS | LOCATION | METHOD | SAMPLING BY THIRD PARTY? | ANALYSIS BY THIRD PARTY? | RESULT
2024-05-24 | pH | INLET | SINGLE GRAB | YES | YES | 7.5
| SOS (mg/l) | INLET | SINGLE GRAB | YES | YES | 8
| BOD (mg/l) | INLET | SINGLE GRAB | YES | YES | 2
| COD (mg/l) | INLET | SINGLE GRAB | YES | YES | 10
| N amm (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.2
| N nitrico (mg/l) | INLET | SINGLE GRAB | YES | YES | 3.6
| P tot (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.06
| pH | OUTLET | SINGLE GRAB | YES | YES | 7.5
| SOS (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 20
| BOD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 8
| COD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 19
| N amm (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.2
| N nitroso (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.26
| N nitrico (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 5.7
| P tot (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.09

## GIUGNO
MONITORAGGIO QUALITA delle ACQUE OSOPPO - anno 2024 - - criterio 3.2.5 ASC Freshwater trout Standard (Appendix IIB) -
DATE | ANALYSIS | LOCATION | METHOD | SAMPLING BY THIRD PARTY? | ANALYSIS BY THIRD PARTY? | RESULT
2024-06-21 | pH | INLET | SINGLE GRAB | YES | YES | 7.6
| SOS (mg/l) | INLET | SINGLE GRAB | YES | YES | 6
| BOD (mg/l) | INLET | SINGLE GRAB | YES | YES | 1
| COD (mg/l) | INLET | SINGLE GRAB | YES | YES | 10
| N amm (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.23
| N nitrico (mg/l) | INLET | SINGLE GRAB | YES | YES | 3.8
| P tot (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.08
| pH | OUTLET | SINGLE GRAB | YES | YES | 7.4
| SOS (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 21
| BOD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 8
| COD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 25
| N amm (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.2
| N nitroso (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.28
| N nitrico (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 5.7
| P tot (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.09

## LUGLIO
MONITORAGGIO QUALITA delle ACQUE OSOPPO - anno 2024 - - criterio 3.2.5 ASC Freshwater trout Standard (Appendix IIB) -
DATE | ANALYSIS | LOCATION | METHOD | SAMPLING BY THIRD PARTY? | ANALYSIS BY THIRD PARTY? | RESULT
2024-07-19 | pH | INLET | SINGLE GRAB | YES | YES | 7.5
| SOS (mg/l) | INLET | SINGLE GRAB | YES | YES | 16
| BOD (mg/l) | INLET | SINGLE GRAB | YES | YES | 6
| COD (mg/l) | INLET | SINGLE GRAB | YES | YES | 10
| N amm (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.2
| N nitroso (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.31
| N nitrico (mg/l) | INLET | SINGLE GRAB | YES | YES | 3.6
| P tot (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.07
| pH | OUTLET | SINGLE GRAB | YES | YES | 7.6
| SOS (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 26
| BOD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 9
| COD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 27
| N amm (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.2
| N nitroso (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.26
| N nitrico (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 5.5
| P tot (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.09

## AGOSTO
MONITORAGGIO QUALITA delle ACQUE OSOPPO - anno 2024 - - criterio 3.2.5 ASC Freshwater trout Standard (Appendix IIB) -
DATE | ANALYSIS | LOCATION | METHOD | SAMPLING BY THIRD PARTY? | ANALYSIS BY THIRD PARTY? | RESULT
2024-08-23 | pH | INLET | SINGLE GRAB | YES | YES | 7.6
| SOS (mg/l) | INLET | SINGLE GRAB | YES | YES | 19
| BOD (mg/l) | INLET | SINGLE GRAB | YES | YES | 6
| COD (mg/l) | INLET | SINGLE GRAB | YES | YES | 12
| N amm (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.26
| N nitrico (mg/l) | INLET | SINGLE GRAB | YES | YES | 3.8
| P tot (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.06
| pH | OUTLET | SINGLE GRAB | YES | YES | 7.6
| SOS (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 27
| BOD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 8
| COD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 26
| N amm (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.2
| N nitroso (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.32
| N nitrico (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 5.5
| P tot (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.08

## SETTEMBRE
MONITORAGGIO QUALITA delle ACQUE OSOPPO - anno 2024 - - criterio 3.2.5 ASC Freshwater trout Standard (Appendix IIB) -
DATE | ANALYSIS | LOCATION | METHOD | SAMPLING BY THIRD PARTY? | ANALYSIS BY THIRD PARTY? | RESULT
2024-09-30 | pH | INLET | SINGLE GRAB | YES | YES | 7.5
| SOS (mg/l) | INLET | SINGLE GRAB | YES | YES | 15
| BOD (mg/l) | INLET | SINGLE GRAB | YES | YES | 6
| COD (mg/l) | INLET | SINGLE GRAB | YES | YES | 10
| N amm (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.23
| N nitrico (mg/l) | INLET | SINGLE GRAB | YES | YES | 3.6
| P tot (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.07
| pH | OUTLET | SINGLE GRAB | YES | YES | 7.5
| SOS (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 18
| BOD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 7
| COD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 19
| N amm (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.2
| N nitroso (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.32
| N nitrico (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 5.6
| P tot (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.08

## OTTOBRE
MONITORAGGIO QUALITA delle ACQUE OSOPPO - anno 2024 - - criterio 3.2.5 ASC Freshwater trout Standard (Appendix IIB) -
DATE | ANALYSIS | LOCATION | METHOD | SAMPLING BY THIRD PARTY? | ANALYSIS BY THIRD PARTY? | RESULT
2024-10-29 | pH | INLET | SINGLE GRAB | YES | YES | 7.6
| SOS (mg/l) | INLET | SINGLE GRAB | YES | YES | 6
| BOD (mg/l) | INLET | SINGLE GRAB | YES | YES | 1
| COD (mg/l) | INLET | SINGLE GRAB | YES | YES | 10
| N amm (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.13
| N nitrico (mg/l) | INLET | SINGLE GRAB | YES | YES | 3.6
| P tot (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.04
| pH | OUTLET | SINGLE GRAB | YES | YES | 7.4
| SOS (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 24
| BOD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 7
| COD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 23
| N amm (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.2
| N nitroso (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.33
| N nitrico (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 5.7
| P tot (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.09

## NOVEMBRE
MONITORAGGIO QUALITA delle ACQUE OSOPPO - anno 2024 - - criterio 3.2.5 ASC Freshwater trout Standard (Appendix IIB) -
DATE | ANALYSIS | LOCATION | METHOD | SAMPLING BY THIRD PARTY? | ANALYSIS BY THIRD PARTY? | RESULT
2024-11-14 | pH | INLET | SINGLE GRAB | YES | YES | 7.5
| SOS (mg/l) | INLET | SINGLE GRAB | YES | YES | 1
| BOD (mg/l) | INLET | SINGLE GRAB | YES | YES | 1
| COD (mg/l) | INLET | SINGLE GRAB | YES | YES | 10
| N amm (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.01
| N nitrico (mg/l) | INLET | SINGLE GRAB | YES | YES | 5.8
| P tot (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.01
| pH | OUTLET | SINGLE GRAB | YES | YES | 7.5
| SOS (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 23
| BOD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 6
| COD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 20
| N amm (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.2
| N nitroso (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.31
| N nitrico (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 6.9
| P tot (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.08

## DICEMBRE
MONITORAGGIO QUALITA delle ACQUE OSOPPO - anno 2024 - - criterio 3.2.5 ASC Freshwater trout Standard (Appendix IIB) -
DATE | ANALYSIS | LOCATION | METHOD | SAMPLING BY THIRD PARTY? | ANALYSIS BY THIRD PARTY? | RESULT
2024-12-31 | pH | INLET | SINGLE GRAB | YES | YES | 7.5
| SOS (mg/l) | INLET | SINGLE GRAB | YES | YES | 5
| BOD (mg/l) | INLET | SINGLE GRAB | YES | YES | 1
| COD (mg/l) | INLET | SINGLE GRAB | YES | YES | 10
| N amm (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.18
| N nitrico (mg/l) | INLET | SINGLE GRAB | YES | YES | 4
| P tot (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.04
| pH | OUTLET | SINGLE GRAB | YES | YES | 7.4
| SOS (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 19
| BOD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 6
| COD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 20
| N amm (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.2
| N nitroso (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.3
| N nitrico (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 6.1
| P tot (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.07

## SATURAZIONE OSSIGENO
ACQUA IN USCITA VASCHE ALLEVAMENTO
MESE | DATA RILEVAZIONE | OSSIGENO DISCIOLTO [mg/l] | TEMPERATURA | PRESSIONE [mmHg] | VALORE SATURAZIONE DI O2 [mg/l] | SATURAZIONE PERCENTUALE [%]
GENNAIO | 2024-01-17 | 10.1 | 9.8 | 751.12 | 11.35 | 88.9868
FEBBRAIO | 2024-02-21 | 9.9 | 9.7 | 751.12 | 11.38 | 86.9947
MARZO | 2024-03-29 | 10.4 | 9.9 | 751.12 | 11.171 | 93.0982
APRILE | 2024-04-22 | 10.2 | 10.1 | 751.12 | 11.26 | 90.5861
MAGGIO | 2024-05-24 | 10.1 | 10.2 | 751.12 | 11.23 | 89.9377
GIUGNO | 2024-06-21 | 9.9 | 11.1 | 751.12 | 10.973 | 90.2215
LUGLIO | 2024-07-19 | 9.7 | 11.3 | 751.12 | 10.9319 | 88.7309
AGOSTO | 2024-08-23 | 9.7 | 11.5 | 751.12 | 10.89 | 89.0725
SETTEMBRE | 2024-09-30 | 10 | 11.3 | 751.12 | 10.9319 | 91.4751
OTTOBRE | 2024-10-29 | 9.7 | 10.6 | 751.12 | 11.1115 | 87.2971
NOVEMBRE | 2024-11-21 | 9.9 | 10.2 | 751.12 | 11.2297 | 88.1591
DICEMBRE | 2024-12-31 | 10.2 | 9.7 | 751.12 | 11.3788 | 89.6404
La % di saturazione di OD (concentrazione di ossigeno disciolto; in inglese DO) è data dal rapporto, in % appunto, tra l'effettiva quantità di OD e il massimo valore possibile in funzione della temperatura e dell'altitudine.
Altitudine OSOPPO= 185m.
Pressione in funzione dell'altitudine: p= 0,9877q; dove P=pressione in atm - q=altitudine in centinaia di metri (nel caso di OSOPPO q=1,85), da cui p=0,984892atm (751,12mm di Hg)
Dalla Tabella allegata si ottengono i valori di saturazione di O2
| °C | 750mm | 760mm | 751,12mm | valore saturazione (output)
temperatura più bassa | 9 | 11.5 | 11.6 | 11.5888 | 11.3488
temperatura più alta | 10 | 11.2 | 11.3 | 11.2888
temperatura rilevata (input) | 9.8
temperatura più bassa | 10 | 11.2 | 11.3 | 11.2888 | 11.1706
temperatura più alta | 11 | 10.94 | 11 | 10.9933
temperatura rilevata (input) | 10.4
temperatura più bassa | 11 | 10.94 | 11 | 10.9933 | 10.9728
temperatura più alta | 12 | 10.7 | 10.8 | 10.7888
temperatura rilevata (input) | 11.1
temperatura più bassa | 12 | 10.7 | 10.8 | 10.7888 | 10.5542
temperatura più alta | 13 | 10.46 | 10.5 | 10.4955
temperatura rilevata (input) | 12.8