## GENNAIO 2024
MONITORAGGIO QUALITA delle ACQUE SEFRO - anno 2024 - - criterio 3.2.5 ASC Freshwater trout Standard (Appendix IIB) -
DATE | ANALYSIS | LOCATION | METHOD | SAMPLING BY THIRD PARTY? | ANALYSIS BY THIRD PARTY | RESULT
2024-01-31 | pH | INLET | SINGLE GRAB | YES | YES | 7.2
| SOS (mg/l) | INLET | SINGLE GRAB | YES | YES | 2
| BOD (mg/l) | INLET | SINGLE GRAB | YES | YES | 5
| COD (mg/l) | INLET | SINGLE GRAB | YES | YES | 5
| N amm (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.05
| N nitrico (mg/l) | INLET | SINGLE GRAB | YES | YES | 1.3
| P tot (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| pH | OUTLET | SINGLE GRAB | YES | YES | 7.2
| SOS (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 15
| BOD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 5
| COD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 19
| N amm (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.24
| N nitrico (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 1.7
| P tot (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.1

## FEBBRAIO 2024
MONITORAGGIO QUALITA delle ACQUE SEFRO - anno 2024 - - criterio 3.2.5 ASC Freshwater trout Standard (Appendix IIB) -
DATE | ANALYSIS | LOCATION | METHOD | SAMPLING BY THIRD PARTY? | ANALYSIS BY THIRD PARTY | RESULT
2024-02-08 | pH | INLET | SINGLE GRAB | YES | YES | 7.3
| SOS (mg/l) | INLET | SINGLE GRAB | YES | YES | 2
| BOD (mg/l) | INLET | SINGLE GRAB | YES | YES | 5
| COD (mg/l) | INLET | SINGLE GRAB | YES | YES | 5
| N amm (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.05
| N nitrico (mg/l) | INLET | SINGLE GRAB | YES | YES | 1.4
| P tot (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| pH | OUTLET | SINGLE GRAB | YES | YES | 7.3
| SOS (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 18
| BOD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 5
| COD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 19
| N amm (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.26
| N nitrico (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 1.7
| P tot (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.1

## MARZO 2024
MONITORAGGIO QUALITA delle ACQUE SEFRO - anno 2024 - - criterio 3.2.5 ASC Freshwater trout Standard (Appendix IIB) -
DATE | ANALYSIS | LOCATION | METHOD | SAMPLING BY THIRD PARTY? | ANALYSIS BY THIRD PARTY | RESULT
2024-03-04 | pH | INLET | SINGLE GRAB | YES | YES | 7.2
| SOS (mg/l) | INLET | SINGLE GRAB | YES | YES | 16
| BOD (mg/l) | INLET | SINGLE GRAB | YES | YES | 2.34
| COD (mg/l) | INLET | SINGLE GRAB | YES | YES | 10
| N amm (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.04
| N nitroso (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.015
| N nitrico (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.48
| P tot (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.16
| pH | OUTLET | SINGLE GRAB | YES | YES | 6.6
| SOS (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 23.3
| BOD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 1.65
| COD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 10
| N amm (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.246
| N nitroso (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.015
| N nitrico (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.53
| P tot (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.16

## APRILE 2024
MONITORAGGIO QUALITA delle ACQUE SEFRO - anno 2024 - - criterio 3.2.5 ASC Freshwater trout Standard (Appendix IIB) -
DATE | ANALYSIS | LOCATION | METHOD | SAMPLING BY THIRD PARTY? | ANALYSIS BY THIRD PARTY | RESULT
2024-04-30 | pH | INLET | SINGLE GRAB | YES | YES | 7.1
| SOS (mg/l) | INLET | SINGLE GRAB | YES | YES | 2
| BOD (mg/l) | INLET | SINGLE GRAB | YES | YES | 5
| COD (mg/l) | INLET | SINGLE GRAB | YES | YES | 5
| N amm (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.04
| N nitrico (mg/l) | INLET | SINGLE GRAB | YES | YES | 1.2
| P tot (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| pH | OUTLET | SINGLE GRAB | YES | YES | 7.3
| SOS (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 17
| BOD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 8
| COD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 23
| N amm (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.26
| N nitrico (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 1.6
| P tot (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.1

## MAGGIO 2024
MONITORAGGIO QUALITA delle ACQUE SEFRO - anno 2024 - - criterio 3.2.5 ASC Freshwater trout Standard (Appendix IIB) -
DATE | ANALYSIS | LOCATION | METHOD | SAMPLING BY THIRD PARTY? | ANALYSIS BY THIRD PARTY | RESULT
2024-05-21 | pH | INLET | SINGLE GRAB | YES | YES | 7.15
| SOS (mg/l) | INLET | SINGLE GRAB | YES | YES | 6
| BOD (mg/l) | INLET | SINGLE GRAB | YES | YES | 5
| COD (mg/l) | INLET | SINGLE GRAB | YES | YES | 5
| N amm (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.09
| N nitrico (mg/l) | INLET | SINGLE GRAB | YES | YES | 1.4
| P tot (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| pH | OUTLET | SINGLE GRAB | YES | YES | 7.5
| SOS (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 19
| BOD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 9
| COD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 28
| N amm (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.24
| N nitrico (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 1.5
| P tot (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.1

## GIUGNO 2024
MONITORAGGIO QUALITA delle ACQUE SEFRO - anno 2024 - - criterio 3.2.5 ASC Freshwater trout Standard (Appendix IIB) -
DATE | ANALYSIS | LOCATION | METHOD | SAMPLING BY THIRD PARTY? | ANALYSIS BY THIRD PARTY | RESULT
2024-06-30 | pH | INLET | SINGLE GRAB | YES | YES | 7.2
| SOS (mg/l) | INLET | SINGLE GRAB | YES | YES | 4
| BOD (mg/l) | INLET | SINGLE GRAB | YES | YES | 5
| COD (mg/l) | INLET | SINGLE GRAB | YES | YES | 5
| N amm (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.09
| N nitrico (mg/l) | INLET | SINGLE GRAB | YES | YES | 1.3
| P tot (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| pH | OUTLET | SINGLE GRAB | YES | YES | 7.4
| SOS (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 22
| BOD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 9
| COD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 29
| N amm (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.32
| N nitrico (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 2.3
| P tot (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.2

## LUGLIO 2024
MONITORAGGIO QUALITA delle ACQUE SEFRO - anno 2024 - - criterio 3.2.5 ASC Freshwater trout Standard (Appendix IIB) -
DATE | ANALYSIS | LOCATION | METHOD | SAMPLING BY THIRD PARTY? | ANALYSIS BY THIRD PARTY | RESULT
2024-07-10 | pH | INLET | SINGLE GRAB | YES | YES | 7.8
| SOS (mg/l) | INLET | SINGLE GRAB | YES | YES | 3.3
| BOD (mg/l) | INLET | SINGLE GRAB | YES | YES | 2.88
| COD (mg/l) | INLET | SINGLE GRAB | YES | YES | 10
| N amm (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.075
| N nitroso (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.015
| N nitrico (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.54
| P tot (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.16
| pH | OUTLET | SINGLE GRAB | YES | YES | 7.2
| SOS (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 2.2
| BOD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 3.45
| COD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 10
| N amm (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.653
| N nitroso (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.021
| N nitrico (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.54
| P tot (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.16

## AGOSTO 2024
MONITORAGGIO QUALITA delle ACQUE SEFRO - anno 2024 - - criterio 3.2.5 ASC Freshwater trout Standard (Appendix IIB) -
DATE | ANALYSIS | LOCATION | METHOD | SAMPLING BY THIRD PARTY? | ANALYSIS BY THIRD PARTY | RESULT
2024-08-20 | pH | INLET | SINGLE GRAB | YES | YES | 7.3
| SOS (mg/l) | INLET | SINGLE GRAB | YES | YES | 6
| BOD (mg/l) | INLET | SINGLE GRAB | YES | YES | 5
| COD (mg/l) | INLET | SINGLE GRAB | YES | YES | 5
| N amm (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.11
| N nitrico (mg/l) | INLET | SINGLE GRAB | YES | YES | 1.4
| P tot (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| pH | OUTLET | SINGLE GRAB | YES | YES | 7.5
| SOS (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 24
| BOD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 9
| COD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 26
| N amm (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.34
| N nitrico (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 2.5
| P tot (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.1

## SETTEMBRE 2024
MONITORAGGIO QUALITA delle ACQUE SEFRO - anno 2024 - - criterio 3.2.5 ASC Freshwater trout Standard (Appendix IIB) -
DATE | ANALYSIS | LOCATION | METHOD | SAMPLING BY THIRD PARTY? | ANALYSIS BY THIRD PARTY | RESULT
2024-09-18 | pH | INLET | SINGLE GRAB | YES | YES | 7.2
| SOS (mg/l) | INLET | SINGLE GRAB | YES | YES | 6
| BOD (mg/l) | INLET | SINGLE GRAB | YES | YES | 5
| COD (mg/l) | INLET | SINGLE GRAB | YES | YES | 5
| N amm (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.08
| N nitrico (mg/l) | INLET | SINGLE GRAB | YES | YES | 1.5
| P tot (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.17
| pH | OUTLET | SINGLE GRAB | YES | YES | 7.3
| SOS (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 18
| BOD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 5
| COD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 15
| N amm (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.2
| N nitroso (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.21
| N nitrico (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 2.4
| P tot (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.04

## OTTOBRE 2024
MONITORAGGIO QUALITA delle ACQUE SEFRO - anno 2024 - - criterio 3.2.5 ASC Freshwater trout Standard (Appendix IIB) -
DATE | ANALYSIS | LOCATION | METHOD | SAMPLING BY THIRD PARTY? | ANALYSIS BY THIRD PARTY | RESULT
2024-10-31 | pH | INLET | SINGLE GRAB | YES | YES | 7.2
| SOS (mg/l) | INLET | SINGLE GRAB | YES | YES | 4
| BOD (mg/l) | INLET | SINGLE GRAB | YES | YES | 5
| COD (mg/l) | INLET | SINGLE GRAB | YES | YES | 5
| N amm (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.09
| N nitrico (mg/l) | INLET | SINGLE GRAB | YES | YES | 1.5
| P tot (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| pH | OUTLET | SINGLE GRAB | YES | YES | 7.4
| SOS (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 20
| BOD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 8
| COD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 24
| N amm (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.29
| N nitrico (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 2.2
| P tot (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.1

## NOVEMBRE 2024
MONITORAGGIO QUALITA delle ACQUE SEFRO - anno 2024 - - criterio 3.2.5 ASC Freshwater trout Standard (Appendix IIB) -
DATE | ANALYSIS | LOCATION | METHOD | SAMPLING BY THIRD PARTY? | ANALYSIS BY THIRD PARTY | RESULT
2024-11-07 | pH | INLET | SINGLE GRAB | YES | YES | 7.2
| SOS (mg/l) | INLET | SINGLE GRAB | YES | YES | 2
| BOD (mg/l) | INLET | SINGLE GRAB | YES | YES | 5
| COD (mg/l) | INLET | SINGLE GRAB | YES | YES | 5
| N amm (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.09
| N nitrico (mg/l) | INLET | SINGLE GRAB | YES | YES | 1.5
| P tot (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| pH | OUTLET | SINGLE GRAB | YES | YES | 7.5
| SOS (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 18
| BOD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 9
| COD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 20
| N amm (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.26
| N nitrico (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 2.2
| P tot (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.1

## DICEMBRE 2024
MONITORAGGIO QUALITA delle ACQUE SEFRO - anno 2024 - - criterio 3.2.5 ASC Freshwater trout Standard (Appendix IIB) -
DATE | ANALYSIS | LOCATION | METHOD | SAMPLING BY THIRD PARTY? | ANALYSIS BY THIRD PARTY | RESULT
2024-12-30 | pH | INLET | SINGLE GRAB | YES | YES | 7.3
| SOS (mg/l) | INLET | SINGLE GRAB | YES | YES | 3
| BOD (mg/l) | INLET | SINGLE GRAB | YES | YES | 5
| COD (mg/l) | INLET | SINGLE GRAB | YES | YES | 5
| N amm (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.09
| N nitrico (mg/l) | INLET | SINGLE GRAB | YES | YES | 1.5
| P tot (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| pH | OUTLET | SINGLE GRAB | YES | YES | 7.3
| SOS (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 19
| BOD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 5
| COD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 20
| N amm (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.24
| N nitrico (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 1.7
| P tot (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.1

## SATURAZIONE OSSIGENO
SATURAZIONE MINIMA di OSSIGENO DISCIOLTO
- criterio 3.2.2 ASC Freshwater trout Standard (Appendix IIB) -
ACQUA IN USCITA VASCHE ALLEVAMENTO
MESE | DATA RILEVAZIONE | OSSIGENO DISCIOLTO [mg/l] | TEMPERATURA [°C] | PRESSIONE [mmHg] | VALORE SATURAZIONE DI O2 [mg/l] | SATURAZIONE PERCENTUALE [%]
GENNAIO | 2024-01-31 | 10.5 | 10.3 | 714.39 | 10.6 | 99.0566
FEBBRAIO | 2024-02-08 | 10.3 | 10.8 | 714.39 | 10.47 | 98.3763
MARZO | 2024-03-04 | 10.4 | 10.9 | 714.39 | 10.45 | 99.5215
APRILE | 2024-04-30 | 10.2 | 11 | 714.39 | 10.43 | 97.7948
MAGGIO | 2024-05-21 | 10.1 | 11.9 | 714.39 | 10.215 | 98.8742
GIUGNO | 2024-06-30 | 9.9 | 13.2 | 714.39 | 9.919 | 99.8084
LUGLIO | 2024-07-10 | 9.9 | 13.4 | 714.39 | 9.8775 | 100.2282
AGOSTO | 2024-08-20 | 9.7 | 13.8 | 714.39 | 9.7935 | 99.0457
SETTEMBRE | 2024-09-18 | 9.9 | 12.4 | 714.39 | 9.9405 | 99.593
OTTOBRE | 2024-10-31 | 10 | 11.8 | 714.39 | 10.24 | 97.6562
NOVEMBRE | 2024-11-07 | 10.1 | 11.5 | 714.39 | 10.3 | 98.0583
DICEMBRE | 2024-12-30 | 10 | 11.6 | 714.39 | 10.285 | 97.229
La % di saturazione di OD (concentrazione di ossigeno disciolto; in inglese DO) è data dal rapporto, in % appunto, tra l'effettiva quantità di OD e il massimo valore possibile in funzione della temperatura e dell'altitudine.
Altitudine SEFRO= 500m.
Pressione in funzione dell'altitudine: p= 0,9877q; dove P=pressione in atm - q=altitudine in centinaia di metri (nel caso di SEFRO q=5), da cui p=0,93999atm (714,39mm di Hg)
Dalla Tabella allegata si ottengono i valori di saturazione di O2
| °C | 720mm | 710mm | 714,39mm | valore saturazione (output)
temperatura più bassa | 8 | 11.27 | 11.11 | 11.1802 | 11.0502
temperatura più alta | 9 | 11.01 | 10.85 | 10.9202
temperatura rilevata (input) | 8.5
temperatura più bassa | 9 | 11.01 | 10.85 | 10.9202 | 10.793
temperatura più alta | 10 | 10.75 | 10.6 | 10.6658
temperatura rilevata (input) | 9.5
temperatura più bassa | 10 | 10.75 | 10.6 | 10.6658 | 10.4258
temperatura più alta | 11 | 10.51 | 10.36 | 10.4258
temperatura rilevata (input) | 11
temperatura più bassa | 11 | 10.51 | 10.36 | 10.4258 | 10.2852
temperatura più alta | 12 | 10.27 | 10.13 | 10.1915
temperatura rilevata (input) | 11.6
temperatura più bassa | 12 | 10.27 | 10.13 | 10.1915 | 9.9615
temperatura più alta | 13 | 10.04 | 9.9 | 9.9615
temperatura rilevata (input) | 13
temperatura più bassa | 13 | 10.04 | 9.9 | 9.9615 | 9.7935
temperatura più alta | 14 | 9.83 | 9.69 | 9.7515
temperatura rilevata (input) | 13.8