## GENNAIO
DATE | ANALYSIS | LOCATION | METHOD | SAMPLING BY THIRD PARTY? | ANALYSIS BY THIRD PARTY? | RESULT
2024-01-31 | pH | INLET | SINGLE GRAB | YES | YES | 7.1
| SOS (mg/l) | INLET | SINGLE GRAB | YES | YES | 3
| BOD (mg/l) | INLET | SINGLE GRAB | YES | YES | 1
| COD (mg/l) | INLET | SINGLE GRAB | YES | YES | 10
| N amm (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.01
| N nitrico (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.4
| P tot (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.01
| pH | OUTLET | SINGLE GRAB | YES | YES | 7.2
| SOS (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 21
| BOD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 4
| COD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 11
| N amm (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.3
| N nitroso (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.18
| N nitrico (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.6
| P tot (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.09

## FEBBRAIO
DATE | ANALYSIS | LOCATION | METHOD | SAMPLING BY THIRD PARTY? | ANALYSIS BY THIRD PARTY? | RESULT
2024-02-27 | pH | INLET | SINGLE GRAB | YES | YES | 7.1
| SOS (mg/l) | INLET | SINGLE GRAB | YES | YES | 1
| BOD (mg/l) | INLET | SINGLE GRAB | YES | YES | 1
| COD (mg/l) | INLET | SINGLE GRAB | YES | YES | 10
| N amm (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.01
| N nitrico (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.4
| P tot (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.01
| pH | OUTLET | SINGLE GRAB | YES | YES | 7.1
| SOS (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 14
| BOD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 3
| COD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 10
| N amm (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.2
| N nitroso (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.12
| N nitrico (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.5
| P tot (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.06

## MARZO
DATE | ANALYSIS | LOCATION | METHOD | SAMPLING BY THIRD PARTY? | ANALYSIS BY THIRD PARTY? | RESULT
2024-03-29 | pH | INLET | SINGLE GRAB | YES | YES | 7.2
| SOS (mg/l) | INLET | SINGLE GRAB | YES | YES | 1
| BOD (mg/l) | INLET | SINGLE GRAB | YES | YES | 1
| COD (mg/l) | INLET | SINGLE GRAB | YES | YES | 10
| N amm (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.01
| N nitrico (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.4
| P tot (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.01
| pH | OUTLET | SINGLE GRAB | YES | YES | 7.2
| SOS (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 17
| BOD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 7
| COD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 16
| N amm (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.15
| N nitrico (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.7
| P tot (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.07

## APRILE
DATE | ANALYSIS | LOCATION | METHOD | SAMPLING BY THIRD PARTY? | ANALYSIS BY THIRD PARTY? | RESULT
2024-04-22 | pH | INLET | SINGLE GRAB | YES | YES | 7.1
| SOS (mg/l) | INLET | SINGLE GRAB | YES | YES | 1
| BOD (mg/l) | INLET | SINGLE GRAB | YES | YES | 1
| COD (mg/l) | INLET | SINGLE GRAB | YES | YES | 10
| N amm (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.01
| N nitrico (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.5
| P tot (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.01
| pH | OUTLET | SINGLE GRAB | YES | YES | 7.2
| SOS (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 15
| BOD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 5
| COD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 14
| N amm (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.12
| N nitrico (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.9
| P tot (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.09

## MAGGIO
DATE | ANALYSIS | LOCATION | METHOD | SAMPLING BY THIRD PARTY? | ANALYSIS BY THIRD PARTY? | RESULT
2024-05-24 | pH | INLET | SINGLE GRAB | YES | YES | 7.1
| SOS (mg/l) | INLET | SINGLE GRAB | YES | YES | 1
| BOD (mg/l) | INLET | SINGLE GRAB | YES | YES | 1
| COD (mg/l) | INLET | SINGLE GRAB | YES | YES | 10
| N amm (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.01
| N nitrico (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.6
| P tot (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.01
| pH | OUTLET | SINGLE GRAB | YES | YES | 7.2
| SOS (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 9
| BOD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 2
| COD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 10
| N amm (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.09
| N nitrico (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.7
| P tot (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.09

## GIUGNO
DATE | ANALYSIS | LOCATION | METHOD | SAMPLING BY THIRD PARTY? | ANALYSIS BY THIRD PARTY? | RESULT
2024-06-21 | pH | INLET | SINGLE GRAB | YES | YES | 7.1
| SOS (mg/l) | INLET | SINGLE GRAB | YES | YES | 1
| BOD (mg/l) | INLET | SINGLE GRAB | YES | YES | 1
| COD (mg/l) | INLET | SINGLE GRAB | YES | YES | 10
| N amm (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.01
| N nitrico (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.6
| P tot (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.01
| pH | OUTLET | SINGLE GRAB | YES | YES | 7.1
| SOS (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 5
| BOD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 1
| COD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 10
| N amm (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.06
| N nitrico (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.6
| P tot (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.04

## LUGLIO
DATE | ANALYSIS | LOCATION | METHOD | SAMPLING BY THIRD PARTY? | ANALYSIS BY THIRD PARTY? | RESULT
2024-07-19 | pH | INLET | SINGLE GRAB | YES | YES | 7.2
| SOS (mg/l) | INLET | SINGLE GRAB | YES | YES | 1
| BOD (mg/l) | INLET | SINGLE GRAB | YES | YES | 1
| COD (mg/l) | INLET | SINGLE GRAB | YES | YES | 10
| N amm (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.01
| N nitrico (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.7
| P tot (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.01
| pH | OUTLET | SINGLE GRAB | YES | YES | 7.2
| SOS (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 8
| BOD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 2
| COD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 10
| N amm (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.11
| N nitrico (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.9
| P tot (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.05

## AGOSTO
DATE | ANALYSIS | LOCATION | METHOD | SAMPLING BY THIRD PARTY? | ANALYSIS BY THIRD PARTY? | RESULT
2024-08-23 | pH | INLET | SINGLE GRAB | YES | YES | 7.1
| SOS (mg/l) | INLET | SINGLE GRAB | YES | YES | 1
| BOD (mg/l) | INLET | SINGLE GRAB | YES | YES | 1
| COD (mg/l) | INLET | SINGLE GRAB | YES | YES | 10
| N amm (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.01
| N nitrico (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.8
| P tot (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.01
| pH | OUTLET | SINGLE GRAB | YES | YES | 7.2
| SOS (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 9
| BOD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 2
| COD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 10
| N amm (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.14
| N nitrico (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.9
| P tot (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.06

## SETTEMBRE
DATE | ANALYSIS | LOCATION | METHOD | SAMPLING BY THIRD PARTY? | ANALYSIS BY THIRD PARTY? | RESULT
2024-09-30 | pH | INLET | SINGLE GRAB | YES | YES | 7.2
| SOS (mg/l) | INLET | SINGLE GRAB | YES | YES | 1
| BOD (mg/l) | INLET | SINGLE GRAB | YES | YES | 1
| COD (mg/l) | INLET | SINGLE GRAB | YES | YES | 10
| N amm (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.01
| N nitrico (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.8
| P tot (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.01
| pH | OUTLET | SINGLE GRAB | YES | YES | 7.3
| SOS (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 11
| BOD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 3
| COD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 10
| N amm (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.12
| N nitrico (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.9
| P tot (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.04

## OTTOBRE
DATE | ANALYSIS | LOCATION | METHOD | SAMPLING BY THIRD PARTY? | ANALYSIS BY THIRD PARTY? | RESULT
2024-10-29 | pH | INLET | SINGLE GRAB | YES | YES | 7
| SOS (mg/l) | INLET | SINGLE GRAB | YES | YES | 1
| BOD (mg/l) | INLET | SINGLE GRAB | YES | YES | 1
| COD (mg/l) | INLET | SINGLE GRAB | YES | YES | 10
| N amm (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.01
| N nitrico (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.8
| P tot (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.01
| pH | OUTLET | SINGLE GRAB | YES | YES | 7.1
| SOS (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 9
| BOD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 1
| COD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 10
| N amm (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.09
| N nitrico (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.9
| P tot (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.03

## NOVEMBRE
DATE | ANALYSIS | LOCATION | METHOD | SAMPLING BY THIRD PARTY? | ANALYSIS BY THIRD PARTY? | RESULT
2024-11-21 | pH | INLET | SINGLE GRAB | YES | YES | 7.1
| SOS (mg/l) | INLET | SINGLE GRAB | YES | YES | 1
| BOD (mg/l) | INLET | SINGLE GRAB | YES | YES | 1
| COD (mg/l) | INLET | SINGLE GRAB | YES | YES | 10
| N amm (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.01
| N nitrico (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.8
| P tot (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.01
| pH | OUTLET | SINGLE GRAB | YES | YES | 7.1
| SOS (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 7
| BOD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 1
| COD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 10
| N amm (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.08
| N nitrico (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.9
| P tot (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.04

## DICEMBRE
DATE | ANALYSIS | LOCATION | METHOD | SAMPLING BY THIRD PARTY? | ANALYSIS BY THIRD PARTY? | RESULT
2024-12-31 | pH | INLET | SINGLE GRAB | YES | YES | 7.1
| SOS (mg/l) | INLET | SINGLE GRAB | YES | YES | 1
| BOD (mg/l) | INLET | SINGLE GRAB | YES | YES | 1
| COD (mg/l) | INLET | SINGLE GRAB | YES | YES | 10
| N amm (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.01
| N nitrico (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.8
| P tot (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.01
| pH | OUTLET | SINGLE GRAB | YES | YES | 7.1
| SOS (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 3
| BOD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 1
| COD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 10
| N amm (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.09
| N nitrico (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.9
| P tot (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.03

## SATURAZIONE OSSIGENO
ACQUA IN USCITA VASCHE ALLEVAMENTO
MESE | DATA RILEVAZIONE | OSSIGENO DISCIOLTO [mg/l] | TEMPERATURA | PRESSIONE [mmHg] | VALORE SATURAZIONE DI O2 [mg/l] | SATURAZIONE PERCENTUALE [%]
GENNAIO | 2024-01-31 | 10.4 | 7.3 | 707.48 | 11.3467 | 91.6562
FEBBRAIO | 2024-02-27 | 10.5 | 7.1 | 707.48 | 11.4307 | 91.8578
MARZO | 2024-03-29 | 10.2 | 8.2 | 707.48 | 10.9657 | 93.0175
APRILE | 2024-04-22 | 10.1 | 8.7 | 707.48 | 10.7517 | 93.9388
MAGGIO | 2024-05-24 | 10.3 | 9.4 | 707.48 | 10.4494 | 98.5706
GIUGNO | 2024-06-21 | 10.4 | 9.3 | 707.48 | 10.4927 | 99.1161
LUGLIO | 2024-07-19 | 10.1 | 9.8 | 707.48 | 10.2752 | 98.2952
AGOSTO | 2024-08-23 | 10.1 | 10 | 707.48 | 10.1877 | 99.1393
SETTEMBRE | 2024-09-30 | 10.3 | 9.7 | 707.48 | 10.3188 | 99.8176
OTTOBRE | 2024-10-29 | 10.4 | 9.4 | 707.48 | 10.4494 | 99.5276
NOVEMBRE | 2024-11-21 | 10.5 | 9.1 | 707.48 | 10.5793 | 99.2502
DICEMBRE | 2024-12-31 | 10.6 | 8.8 | 707.48 | 10.7087 | 98.985
1. Pressione atmosferica (IN hPa) in funzione dell'altitudine (in metri)
P(h)=1013.25×(1− h/44330) ^5.255
2. Co (mg/L)
Co(T)=aT^2 + bT +c a=−0.0035 b=−0.4006 c=14.6 T è la temperatura in gradi Celsius (°C)
2. Saturazione dell'ossigeno in acqua dolce (mg/L)
C(T,h)=Co× P(h)/1013.25 h è l'altitudine in metri (m) P(h) è la pressione atmosferica in hPa calcolata con la formula sopra
Altitudine (m) TEMPERA | Pressione (hPa) | Pressione (mmHg) | Temperatura (°C) | Co | SATURAZIONE di O2 (mg/l) | Ossigeno disciolto (mg/l) | Saturazione %
600 | 943.2269 | 707.4768 | 7.3 | 12.1891 | 11.3467 | 10.4 | 91.6562
600 | 943.2269 | 707.4768 | 7.1 | 12.2793 | 11.4307 | 10.5 | 91.8578
600 | 943.2269 | 707.4768 | 8.2 | 11.7797 | 10.9657 | 10.2 | 93.0175
600 | 943.2269 | 707.4768 | 8.7 | 11.5499 | 10.7517 | 10.1 | 93.9388
600 | 943.2269 | 707.4768 | 9.4 | 11.2251 | 10.4494 | 10.3 | 98.5706
600 | 943.2269 | 707.4768 | 9.3 | 11.2717 | 10.4927 | 10.4 | 99.1161
600 | 943.2269 | 707.4768 | 9.8 | 11.038 | 10.2752 | 10.1 | 98.2952
600 | 943.2269 | 707.4768 | 10 | 10.944 | 10.1877 | 10.1 | 99.1393
600 | 943.2269 | 707.4768 | 9.7 | 11.0849 | 10.3188 | 10.3 | 99.8176
600 | 943.2269 | 707.4768 | 9.4 | 11.2251 | 10.4494 | 10.4 | 99.5276
600 | 943.2269 | 707.4768 | 9.1 | 11.3647 | 10.5793 | 10.5 | 99.2502
600 | 943.2269 | 707.4768 | 8.8 | 11.5037 | 10.7087 | 10.6 | 98.985