## GENNAIO
DATE | ANALYSIS | LOCATION | METHOD | SAMPLING BY THIRD PARTY? | ANALYSIS BY THIRD PARTY? | RESULT
2021-01-14 | pH | INLET | SINGLE GRAB | YES | YES | 7.25
| SOS (mg/l) | INLET | SINGLE GRAB | YES | YES | 1
| BOD (mg/l) | INLET | SINGLE GRAB | YES | YES | 1
| COD (mg/l) | INLET | SINGLE GRAB | YES | YES | 10
| N amm (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.01
| N nitrico (mg/l) | INLET | SINGLE GRAB | YES | YES | 5.8
| P tot (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.01
| pH | OUTLET | SINGLE GRAB | YES | YES | 7.5
| SOS (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 10
| BOD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 5
| COD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 10
| N amm (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.2
| N nitroso (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.19
| N nitrico (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 6.3
| P tot (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.04

## FEBBRAIO
DATE | ANALYSIS | LOCATION | METHOD | SAMPLING BY THIRD PARTY? | ANALYSIS BY THIRD PARTY? | RESULT
2021-02-15 | pH | INLET | SINGLE GRAB | YES | YES | 7.43
| SOS (mg/l) | INLET | SINGLE GRAB | YES | YES | 1
| BOD (mg/l) | INLET | SINGLE GRAB | YES | YES | 1
| COD (mg/l) | INLET | SINGLE GRAB | YES | YES | 10
| N amm (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.01
| N nitrico (mg/l) | INLET | SINGLE GRAB | YES | YES | 5.5
| P tot (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.01
| pH | OUTLET | SINGLE GRAB | YES | YES | 7.48
| SOS (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 8
| BOD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 3
| COD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 10
| N amm (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.14
| N nitrico (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 6.4
| P tot (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.03

## MARZO
DATE | ANALYSIS | LOCATION | METHOD | SAMPLING BY THIRD PARTY? | ANALYSIS BY THIRD PARTY? | RESULT
2021-03-12 | pH | INLET | SINGLE GRAB | YES | YES | 7.32
| SOS (mg/l) | INLET | SINGLE GRAB | YES | YES | 3
| BOD (mg/l) | INLET | SINGLE GRAB | YES | YES | 1
| COD (mg/l) | INLET | SINGLE GRAB | YES | YES | 10
| N amm (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.01
| N nitrico (mg/l) | INLET | SINGLE GRAB | YES | YES | 5.9
| P tot (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.01
| pH | OUTLET | SINGLE GRAB | YES | YES | 7.49
| SOS (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 8
| BOD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 4
| COD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 10
| N amm (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.2
| N nitroso (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.17
| N nitrico (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 6.5
| P tot (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.05

## APRILE
DATE | ANALYSIS | LOCATION | METHOD | SAMPLING BY THIRD PARTY? | ANALYSIS BY THIRD PARTY? | RESULT
2021-04-12 | pH | INLET | SINGLE GRAB | YES | YES | 7.22
| SOS (mg/l) | INLET | SINGLE GRAB | YES | YES | 3
| BOD (mg/l) | INLET | SINGLE GRAB | YES | YES | 1
| COD (mg/l) | INLET | SINGLE GRAB | YES | YES | 10
| N amm (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.01
| N nitrico (mg/l) | INLET | SINGLE GRAB | YES | YES | 5.5
| P tot (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.01
| pH | OUTLET | SINGLE GRAB | YES | YES | 7.54
| SOS (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 9
| BOD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 4
| COD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 10
| N amm (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.2
| N nitroso (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.17
| N nitrico (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 6.8
| P tot (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.07

## MAGGIO
DATE | ANALYSIS | LOCATION | METHOD | SAMPLING BY THIRD PARTY? | ANALYSIS BY THIRD PARTY? | RESULT
2021-05-14 | pH | INLET | SINGLE GRAB | YES | YES | 7.28
| SOS (mg/l) | INLET | SINGLE GRAB | YES | YES | 3
| BOD (mg/l) | INLET | SINGLE GRAB | YES | YES | 1
| COD (mg/l) | INLET | SINGLE GRAB | YES | YES | 10
| N amm (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.01
| N nitrico (mg/l) | INLET | SINGLE GRAB | YES | YES | 5.4
| P tot (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.01
| pH | OUTLET | SINGLE GRAB | YES | YES | 7.52
| SOS (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 9
| BOD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 5
| COD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 10
| N amm (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.2
| N nitroso (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.15
| N nitrico (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 6.8
| P tot (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.06

## GIUGNO
DATE | ANALYSIS | LOCATION | METHOD | SAMPLING BY THIRD PARTY? | ANALYSIS BY THIRD PARTY? | RESULT
2021-06-11 | pH | INLET | SINGLE GRAB | YES | YES | 7.26
| SOS (mg/l) | INLET | SINGLE GRAB | YES | YES | 6
| BOD (mg/l) | INLET | SINGLE GRAB | YES | YES | 1
| COD (mg/l) | INLET | SINGLE GRAB | YES | YES | 10
| N amm (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.01
| N nitrico (mg/l) | INLET | SINGLE GRAB | YES | YES | 5.9
| P tot (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.01
| pH | OUTLET | SINGLE GRAB | YES | YES | 7.52
| SOS (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 9
| BOD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 3
| COD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 10
| N amm (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.2
| N nitroso (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.17
| N nitrico (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 6.7
| P tot (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.04

## LUGLIO
DATE | ANALYSIS | LOCATION | METHOD | SAMPLING BY THIRD PARTY? | ANALYSIS BY THIRD PARTY? | RESULT
2021-07-13 | pH | INLET | SINGLE GRAB | YES | YES | 7.35
| SOS (mg/l) | INLET | SINGLE GRAB | YES | YES | 4
| BOD (mg/l) | INLET | SINGLE GRAB | YES | YES | 1
| COD (mg/l) | INLET | SINGLE GRAB | YES | YES | 10
| N amm (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.01
| N nitrico (mg/l) | INLET | SINGLE GRAB | YES | YES | 5.5
| P tot (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.01
| pH | OUTLET | SINGLE GRAB | YES | YES | 7.49
| SOS (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 12
| BOD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 6
| COD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 10
| N amm (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.2
| N nitroso (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.19
| N nitrico (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 7.3
| P tot (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.05

## AGOSTO
DATE | ANALYSIS | LOCATION | METHOD | SAMPLING BY THIRD PARTY? | ANALYSIS BY THIRD PARTY? | RESULT
2021-08-10 | pH | INLET | SINGLE GRAB | YES | YES | 7.31
| SOS (mg/l) | INLET | SINGLE GRAB | YES | YES | 6
| BOD (mg/l) | INLET | SINGLE GRAB | YES | YES | 1
| COD (mg/l) | INLET | SINGLE GRAB | YES | YES | 10
| N amm (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.01
| N nitrico (mg/l) | INLET | SINGLE GRAB | YES | YES | 5.9
| P tot (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.01
| pH | OUTLET | SINGLE GRAB | YES | YES | 7.44
| SOS (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 12
| BOD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 5
| COD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 10
| N amm (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.2
| N nitroso (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.23
| N nitrico (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 6.8
| P tot (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.06

## SETTEMBRE
DATE | ANALYSIS | LOCATION | METHOD | SAMPLING BY THIRD PARTY? | ANALYSIS BY THIRD PARTY? | RESULT
2021-09-13 | pH | INLET | SINGLE GRAB | YES | YES | 7.32
| SOS (mg/l) | INLET | SINGLE GRAB | YES | YES | 4
| BOD (mg/l) | INLET | SINGLE GRAB | YES | YES | 1
| COD (mg/l) | INLET | SINGLE GRAB | YES | YES | 10
| N amm (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.01
| N nitrico (mg/l) | INLET | SINGLE GRAB | YES | YES | 5.4
| P tot (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.01
| pH | OUTLET | SINGLE GRAB | YES | YES | 7.48
| SOS (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 9
| BOD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 7
| COD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 10
| N amm (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.18
| N nitrico (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 7
| P tot (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.08

## OTTOBRE
DATE | ANALYSIS | LOCATION | METHOD | SAMPLING BY THIRD PARTY? | ANALYSIS BY THIRD PARTY? | RESULT
2021-10-14 | pH | INLET | SINGLE GRAB | YES | YES | 7.26
| SOS (mg/l) | INLET | SINGLE GRAB | YES | YES | 3
| BOD (mg/l) | INLET | SINGLE GRAB | YES | YES | 1
| COD (mg/l) | INLET | SINGLE GRAB | YES | YES | 10
| N amm (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.01
| N nitrico (mg/l) | INLET | SINGLE GRAB | YES | YES | 6
| P tot (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.01
| pH | OUTLET | SINGLE GRAB | YES | YES | 7.49
| SOS (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 14
| BOD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 5
| COD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 10
| N amm (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.2
| N nitroso (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.17
| N nitrico (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 6.7
| P tot (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.06

## NOVEMBRE
DATE | ANALYSIS | LOCATION | METHOD | SAMPLING BY THIRD PARTY? | ANALYSIS BY THIRD PARTY? | RESULT
2021-11-15 | pH | INLET | SINGLE GRAB | YES | YES | 7.32
| SOS (mg/l) | INLET | SINGLE GRAB | YES | YES | 1
| BOD (mg/l) | INLET | SINGLE GRAB | YES | YES | 1
| COD (mg/l) | INLET | SINGLE GRAB | YES | YES | 10
| N amm (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.01
| N nitrico (mg/l) | INLET | SINGLE GRAB | YES | YES | 5.8
| P tot (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.01
| pH | OUTLET | SINGLE GRAB | YES | YES | 7.5
| SOS (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 12
| BOD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 4
| COD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 10
| N amm (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.2
| N nitroso (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.18
| N nitrico (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 6.9
| P tot (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.07

## DICEMBRE
DATE | ANALYSIS | LOCATION | METHOD | SAMPLING BY THIRD PARTY? | ANALYSIS BY THIRD PARTY? | RESULT
2021-12-09 | pH | INLET | SINGLE GRAB | YES | YES | 7.3
| SOS (mg/l) | INLET | SINGLE GRAB | YES | YES | 1
| BOD (mg/l) | INLET | SINGLE GRAB | YES | YES | 1
| COD (mg/l) | INLET | SINGLE GRAB | YES | YES | 10
| N amm (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.01
| N nitrico (mg/l) | INLET | SINGLE GRAB | YES | YES | 5.4
| P tot (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.01
| pH | OUTLET | SINGLE GRAB | YES | YES | 7.51
| SOS (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 8
| BOD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 4
| COD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 10
| N amm (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.2
| N nitroso (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.15
| N nitrico (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 6.9
| P tot (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.06

## SATURAZIONE OSSIGENO
ACQUA IN USCITA VASCHE ALLEVAMENTO
MESE | DATA RILEVAZIONE | OSSIGENO DISCIOLTO [mg/l] | TEMPERATURA | PRESSIONE [mmHg] | VALORE SATURAZIONE DI O2 [mg/l] | SATURAZIONE PERCENTUALE [%]
GENNAIO | 14,01/2021 | 10.8 | 8.5 | 751.12 | 11.7388 | 92.0026
FEBBRAIO | 2021-02-15 | 10.8 | 8.7 | 751.12 | 11.6788 | 92.4753
MARZO | 2021-03-12 | 10.6 | 9.1 | 751.12 | 11.5588 | 91.705
APRILE | 2021-04-12 | 10.9 | 9.5 | 751.12 | 11.4388 | 95.2897
MAGGIO | 2021-05-14 | 10.6 | 9.5 | 751.12 | 11.4388 | 92.6671
GIUGNO | 2021-06-11 | 10.4 | 10.5 | 751.12 | 11.141 | 93.3486
LUGLIO | 2021-07-13 | 10.5 | 10.8 | 751.12 | 11.0524 | 95.0021
AGOSTO | 2021-08-10 | 10.2 | 10.9 | 751.12 | 11.0228 | 92.5352
SETTEMBRE | 2021-09-13 | 10.5 | 10.9 | 751.12 | 11.0228 | 95.2568
OTTOBRE | 2021-10-14 | 10.5 | 10 | 751.12 | 11.288 | 93.0191
NOVEMBRE | 2021-11-15 | 10.8 | 9.7 | 751.12 | 11.3788 | 94.9133
DICEMBRE | 2021-12-09 | 10.9 | 9.1 | 751.12 | 11.5588 | 94.3004
La % di saturazione di OD (concentrazione di ossigeno disciolto; in inglese DO) è data dal rapporto, in % appunto, tra l'effettiva quantità di OD e il massimo valore possibile in funzione della temperatura e dell'altitudine.
Altitudine OSOPPO= 185m.
Pressione in funzione dell'altitudine: p= 0,9877q; dove P=pressione in atm - q=altitudine in centinaia di metri (nel caso di OSOPPO q=1,85), da cui p=0,984892atm (751,12mm di Hg)
Dalla Tabella allegata si ottengono i valori di saturazione di O2
| °C | 750mm | 760mm | 751,12mm | valore saturazione (output)
temperatura più bassa | 8 | 11.8 | 11.9 | 11.8888 | 11.6788
temperatura più alta | 9 | 11.5 | 11.6 | 11.5888
temperatura rilevata (input) | 8.7
| °C | 750mm | 760mm | 751,12mm | valore saturazione (output)
temperatura più bassa | 9 | 11.5 | 11.6 | 11.5888 | 11.5588
temperatura più alta | 10 | 11.2 | 11.3 | 11.2888
temperatura rilevata (input) | 9.1
| °C | 750mm | 760mm | 751,12mm | valore saturazione (output)
temperatura più bassa | 10 | 11.2 | 11.3 | 11.2888 | 11.0228
temperatura più alta | 11 | 10.94 | 11 | 10.9933
temperatura rilevata (input) | 10.9
| °C | 750mm | 760mm | 751,12mm | valore saturazione (output)
temperatura più bassa | 11 | 10.94 | 11 | 10.9933 | 13.2426
temperatura più alta | 12 | 10.7 | 10.8 | 10.7888
temperatura rilevata (input)
| °C | 750mm | 760mm | 751,12mm | valore saturazione (output)
temperatura più bassa | 12 | 10.7 | 10.8 | 10.7888 | 14.3082
temperatura più alta | 13 | 10.46 | 10.5 | 10.4955
temperatura rilevata (input)