## GENNAIO 2020
DATE | ANALYSIS | LOCATION | METHOD | SAMPLING BY THIRD PARTY? | ANALYSIS BY THIRD PARTY | RESULT
2020-01-21 | pH | INLET | SINGLE GRAB | YES | YES | 7.28
| SOS (mg/l) | INLET | SINGLE GRAB | YES | YES | 9
| BOD (mg/l) | INLET | SINGLE GRAB | YES | YES | 5
| COD (mg/l) | INLET | SINGLE GRAB | YES | YES | 5
| N amm (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.03
| N nitrico (mg/l) | INLET | SINGLE GRAB | YES | YES | 2.1
| P tot (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| pH | OUTLET | SINGLE GRAB | YES | YES | 7.3
| SOS (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 12
| BOD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 5
| COD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 7
| N amm (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.05
| N nitrico (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 2.3
| P tot (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.1

## FEBBRAIO 2020
DATE | ANALYSIS | LOCATION | METHOD | SAMPLING BY THIRD PARTY? | ANALYSIS BY THIRD PARTY | RESULT
2020-02-04 | pH | INLET | SINGLE GRAB | YES | YES | 7.32
| SOS (mg/l) | INLET | SINGLE GRAB | YES | YES | 8
| BOD (mg/l) | INLET | SINGLE GRAB | YES | YES | 5
| COD (mg/l) | INLET | SINGLE GRAB | YES | YES | 5
| N amm (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.04
| N nitrico (mg/l) | INLET | SINGLE GRAB | YES | YES | 2.4
| P tot (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| pH | OUTLET | SINGLE GRAB | YES | YES | 7.35
| SOS (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 10
| BOD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 5
| COD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 8
| N amm (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.07
| N nitrico (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 2.6
| P tot (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.1

## MARZO 2020
DATE | ANALYSIS | LOCATION | METHOD | SAMPLING BY THIRD PARTY? | ANALYSIS BY THIRD PARTY | RESULT
2020-03-19 | pH | INLET | SINGLE GRAB | YES | YES | 7.5
| SOS (mg/l) | INLET | SINGLE GRAB | YES | YES | 24
| BOD (mg/l) | INLET | SINGLE GRAB | YES | YES | 5
| COD (mg/l) | INLET | SINGLE GRAB | YES | YES | 5
| N amm (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.05
| N nitroso (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.04
| N nitrico (mg/l) | INLET | SINGLE GRAB | YES | YES | 2.4
| P tot (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.05
| pH | OUTLET | SINGLE GRAB | YES | YES | 6.6
| SOS (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 18
| BOD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 5
| COD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 5
| N amm (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.15
| N nitroso (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.031
| N nitrico (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.45
| P tot (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.06

## APRILE 2020
DATE | ANALYSIS | LOCATION | METHOD | SAMPLING BY THIRD PARTY? | ANALYSIS BY THIRD PARTY | RESULT
2020-04-17 | pH | INLET | SINGLE GRAB | YES | YES | 7.25
| SOS (mg/l) | INLET | SINGLE GRAB | YES | YES | 4
| BOD (mg/l) | INLET | SINGLE GRAB | YES | YES | 5
| COD (mg/l) | INLET | SINGLE GRAB | YES | YES | 5
| N amm (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.02
| N nitrico (mg/l) | INLET | SINGLE GRAB | YES | YES | 2
| P tot (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| pH | OUTLET | SINGLE GRAB | YES | YES | 7.26
| SOS (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 10
| BOD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 5
| COD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 6
| N amm (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.03
| N nitrico (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 2.2
| P tot (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.1

## MAGGIO 2020
DATE | ANALYSIS | LOCATION | METHOD | SAMPLING BY THIRD PARTY? | ANALYSIS BY THIRD PARTY | RESULT
2020-05-20 | pH | INLET | SINGLE GRAB | YES | YES | 7.21
| SOS (mg/l) | INLET | SINGLE GRAB | YES | YES | 6
| BOD (mg/l) | INLET | SINGLE GRAB | YES | YES | 5
| COD (mg/l) | INLET | SINGLE GRAB | YES | YES | 6
| N amm (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.03
| N nitrico (mg/l) | INLET | SINGLE GRAB | YES | YES | 2.1
| P tot (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| pH | OUTLET | SINGLE GRAB | YES | YES | 7.24
| SOS (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 12
| BOD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 5
| COD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 8
| N amm (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.09
| N nitrico (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 2.1
| P tot (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.1

## GIUGNO 2020
DATE | ANALYSIS | LOCATION | METHOD | SAMPLING BY THIRD PARTY? | ANALYSIS BY THIRD PARTY | RESULT
2020-06-16 | pH | INLET | SINGLE GRAB | YES | YES | 7.24
| SOS (mg/l) | INLET | SINGLE GRAB | YES | YES | 7
| BOD (mg/l) | INLET | SINGLE GRAB | YES | YES | 5
| COD (mg/l) | INLET | SINGLE GRAB | YES | YES | 5
| N amm (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.04
| N nitrico (mg/l) | INLET | SINGLE GRAB | YES | YES | 1.7
| P tot (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| pH | OUTLET | SINGLE GRAB | YES | YES | 7.25
| SOS (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 10
| BOD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 5
| COD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 7
| N amm (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.07
| N nitrico (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 2
| P tot (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.1

## LUGLIO 2020
DATE | ANALYSIS | LOCATION | METHOD | SAMPLING BY THIRD PARTY? | ANALYSIS BY THIRD PARTY | RESULT
2020-07-15 | pH | INLET | SINGLE GRAB | YES | YES | 7.72
| SOS (mg/l) | INLET | SINGLE GRAB | YES | YES | 3
| BOD (mg/l) | INLET | SINGLE GRAB | YES | YES | 1
| COD (mg/l) | INLET | SINGLE GRAB | YES | YES | 1
| N amm (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.2
| N nitroso (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.01
| N nitrico (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.5
| P tot (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.04
| pH | OUTLET | SINGLE GRAB | YES | YES | 7.6
| SOS (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 12
| BOD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 1
| COD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 1
| N amm (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.9
| N nitroso (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.08
| N nitrico (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.7
| P tot (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.09

## AGOSTO 2020
DATE | ANALYSIS | LOCATION | METHOD | SAMPLING BY THIRD PARTY? | ANALYSIS BY THIRD PARTY | RESULT
2020-08-18 | pH | INLET | SINGLE GRAB | YES | YES | 7.28
| SOS (mg/l) | INLET | SINGLE GRAB | YES | YES | 8
| BOD (mg/l) | INLET | SINGLE GRAB | YES | YES | 5
| COD (mg/l) | INLET | SINGLE GRAB | YES | YES | 7
| N amm (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.03
| N nitrico (mg/l) | INLET | SINGLE GRAB | YES | YES | 2.1
| P tot (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| pH | OUTLET | SINGLE GRAB | YES | YES | 7.25
| SOS (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 11
| BOD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 5
| COD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 9
| N amm (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.04
| N nitrico (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 2.2
| P tot (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.1

## SETTEMBRE 2020
DATE | ANALYSIS | LOCATION | METHOD | SAMPLING BY THIRD PARTY? | ANALYSIS BY THIRD PARTY | RESULT
2020-09-02 | pH | INLET | SINGLE GRAB | YES | YES | 7.22
| SOS (mg/l) | INLET | SINGLE GRAB | YES | YES | 6
| BOD (mg/l) | INLET | SINGLE GRAB | YES | YES | 5
| COD (mg/l) | INLET | SINGLE GRAB | YES | YES | 7
| N amm (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.05
| N nitrico (mg/l) | INLET | SINGLE GRAB | YES | YES | 1.9
| P tot (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| pH | OUTLET | SINGLE GRAB | YES | YES | 7.2
| SOS (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 10
| BOD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 5
| COD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 10
| N amm (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.07
| N nitrico (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 2
| P tot (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.1

## OTTOBRE 2020
DATE | ANALYSIS | LOCATION | METHOD | SAMPLING BY THIRD PARTY? | ANALYSIS BY THIRD PARTY | RESULT
2020-10-16 | pH | INLET | SINGLE GRAB | YES | YES | 7.21
| SOS (mg/l) | INLET | SINGLE GRAB | YES | YES | 5
| BOD (mg/l) | INLET | SINGLE GRAB | YES | YES | 5
| COD (mg/l) | INLET | SINGLE GRAB | YES | YES | 6
| N amm (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.05
| N nitrico (mg/l) | INLET | SINGLE GRAB | YES | YES | 1.8
| P tot (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| pH | OUTLET | SINGLE GRAB | YES | YES | 7.2
| SOS (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 8
| BOD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 5
| COD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 9
| N amm (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.09
| N nitrico (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 2.2
| P tot (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.1

## NOVEMBRE 2020
DATE | ANALYSIS | LOCATION | METHOD | SAMPLING BY THIRD PARTY? | ANALYSIS BY THIRD PARTY | RESULT
2020-11-20 | pH | INLET | SINGLE GRAB | YES | YES | 7.25
| SOS (mg/l) | INLET | SINGLE GRAB | YES | YES | 5
| BOD (mg/l) | INLET | SINGLE GRAB | YES | YES | 5
| COD (mg/l) | INLET | SINGLE GRAB | YES | YES | 5
| N amm (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.06
| N nitrico (mg/l) | INLET | SINGLE GRAB | YES | YES | 1.6
| P tot (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| pH | OUTLET | SINGLE GRAB | YES | YES | 7.49
| SOS (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 10
| BOD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 1
| COD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 1
| N amm (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.6
| N nitroso (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.09
| N nitrico (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.8
| P tot (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.06

## DICEMBRE 2020
DATE | ANALYSIS | LOCATION | METHOD | SAMPLING BY THIRD PARTY? | ANALYSIS BY THIRD PARTY | RESULT
2020-12-15 | pH | INLET | SINGLE GRAB | YES | YES | 7.25
| SOS (mg/l) | INLET | SINGLE GRAB | YES | YES | 8
| BOD (mg/l) | INLET | SINGLE GRAB | YES | YES | 5
| COD (mg/l) | INLET | SINGLE GRAB | YES | YES | 5
| N amm (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.02
| N nitrico (mg/l) | INLET | SINGLE GRAB | YES | YES | 1.5
| P tot (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| pH | OUTLET | SINGLE GRAB | YES | YES | 7.23
| SOS (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 11
| BOD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 5
| COD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 6
| N amm (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.04
| N nitrico (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 1.7
| P tot (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.1

## SATURAZIONE OSSIGENO
SATURAZIONE MINIMA di OSSIGENO DISCIOLTO
- criterio 3.2.2 ASC Freshwater trout Standard (Appendix IIB) -
ACQUA IN USCITA VASCHE ALLEVAMENTO
MESE | DATA RILEVAZIONE | OSSIGENO DISCIOLTO [mg/l] | TEMPERATURA [°C] | PRESSIONE [mmHg] | VALORE SATURAZIONE DI O2 [mg/l] | SATURAZIONE PERCENTUALE [%]
GENNAIO | 2020-01-21 | 10.4 | 9.8 | 714.39 | 10.7167 | 97.0445
FEBBRAIO | 2020-02-04 | 10.2 | 9.2 | 714.39 | 10.8694 | 93.8418
MARZO | 2020-03-19 | 10 | 9.4 | 714.39 | 10.8185 | 92.4344
APRILE | 2020-04-17 | 9.5 | 12 | 714.39 | 10.1915 | 93.2153
MAGGIO | 2020-05-20 | 10 | 12.5 | 714.39 | 10.0765 | 99.2412
GIUGNO | 2020-06-16 | 9.9 | 12.5 | 714.39 | 10.0765 | 98.2488
LUGLIO | 2020-07-15 | 9.8 | 13 | 714.39 | 9.9615 | 98.3792
AGOSTO | 2020-08-18 | 9.7 | 13 | 714.39 | 9.9615 | 97.3753
SETTEMBRE | 2020-09-02 | 9.7 | 13.1 | 714.39 | 9.9405 | 97.581
OTTOBRE | 2020-10-16 | 9.5 | 12.5 | 714.39 | 10.0765 | 94.2791
NOVEMBRE | 2020-11-20 | 9.9 | 11.5 | 714.39 | 10.3087 | 96.0358
DICEMBRE | 2020-12-15 | 10 | 10.2 | 714.39 | 10.6178 | 94.181
La % di saturazione di OD (concentrazione di ossigeno disciolto; in inglese DO) è data dal rapporto, in % appunto, tra l'effettiva quantità di OD e il massimo valore possibile in funzione della temperatura e dell'altitudine.
Altitudine SEFRO= 500m.
Pressione in funzione dell'altitudine: p= 0,9877q; dove P=pressione in atm - q=altitudine in centinaia di metri (nel caso di SEFRO q=5), da cui p=0,93999atm (714,39mm di Hg)
Dalla Tabella allegata si ottengono i valori di saturazione di O2
| °C | 720mm | 710mm | 714,39mm | valore saturazione (output)
temperatura più bassa | 8 | 11.27 | 11.11 | 11.1802
temperatura più alta | 9 | 11.01 | 10.85 | 10.9202
temperatura rilevata (input)
temperatura più bassa | 9 | 11.01 | 10.85 | 10.9202
temperatura più alta | 10 | 10.75 | 10.6 | 10.6658
temperatura rilevata (input)
temperatura più bassa | 10 | 10.75 | 10.6 | 10.6658 | 10.6178
temperatura più alta | 11 | 10.51 | 10.36 | 10.4258
temperatura rilevata (input) | 10.2
temperatura più bassa | 11 | 10.51 | 10.36 | 10.4258
temperatura più alta | 12 | 10.27 | 10.13 | 10.1915
temperatura rilevata (input)
temperatura più bassa | 12 | 10.27 | 10.13 | 10.1915
temperatura più alta | 13 | 10.04 | 9.9 | 9.9615
temperatura rilevata (input)
temperatura più bassa | 13 | 10.04 | 9.9 | 9.9615
temperatura più alta | 14 | 9.83 | 9.69 | 9.7515
temperatura rilevata (input)