## GENNAIO
DATE | ANALYSIS | LOCATION | METHOD | SAMPLING BY THIRD PARTY? | ANALYSIS BY THIRD PARTY? | RESULT
2020-01-16 | pH | INLET | SINGLE GRAB | YES | YES | 7.7
| SOS (mg/l) | INLET | SINGLE GRAB | YES | YES | 9
| BOD (mg/l) | INLET | SINGLE GRAB | YES | YES | 1
| COD (mg/l) | INLET | SINGLE GRAB | YES | YES | 10
| N amm (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.09
| N nitrico (mg/l) | INLET | SINGLE GRAB | YES | YES | 2.9
| P tot (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.01
| pH | OUTLET | SINGLE GRAB | YES | YES | 7.68
| SOS (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 11
| BOD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 5
| COD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 12
| N amm (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.22
| N nitrico (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 5.9
| P tot (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.06

## FEBBRAIO
DATE | ANALYSIS | LOCATION | METHOD | SAMPLING BY THIRD PARTY? | ANALYSIS BY THIRD PARTY? | RESULT
2020-02-18 | pH | INLET | SINGLE GRAB | YES | YES | 7.8
| SOS (mg/l) | INLET | SINGLE GRAB | YES | YES | 6
| BOD (mg/l) | INLET | SINGLE GRAB | YES | YES | 1
| COD (mg/l) | INLET | SINGLE GRAB | YES | YES | 10
| N amm (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.12
| N nitrico (mg/l) | INLET | SINGLE GRAB | YES | YES | 2.6
| P tot (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.02
| pH | OUTLET | SINGLE GRAB | YES | YES | 7.7
| SOS (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 14
| BOD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 6
| COD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 12
| N amm (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.2
| N nitrico (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 5.9
| P tot (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.06

## MARZO
DATE | ANALYSIS | LOCATION | METHOD | SAMPLING BY THIRD PARTY? | ANALYSIS BY THIRD PARTY? | RESULT
2020-03-17 | pH | INLET | SINGLE GRAB | YES | YES | 7.75
| SOS (mg/l) | INLET | SINGLE GRAB | YES | YES | 9
| BOD (mg/l) | INLET | SINGLE GRAB | YES | YES | 4
| COD (mg/l) | INLET | SINGLE GRAB | YES | YES | 10
| N amm (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.14
| N nitrico (mg/l) | INLET | SINGLE GRAB | YES | YES | 2.5
| P tot (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.03
| pH | OUTLET | SINGLE GRAB | YES | YES | 7.65
| SOS (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 13
| BOD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 6
| COD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 11
| N amm (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.2
| N nitrico (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 5.8
| P tot (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.05

## APRILE
DATE | ANALYSIS | LOCATION | METHOD | SAMPLING BY THIRD PARTY? | ANALYSIS BY THIRD PARTY? | RESULT
2020-04-20 | pH | INLET | SINGLE GRAB | YES | YES | 7.64
| SOS (mg/l) | INLET | SINGLE GRAB | YES | YES | 6
| BOD (mg/l) | INLET | SINGLE GRAB | YES | YES | 4
| COD (mg/l) | INLET | SINGLE GRAB | YES | YES | 10
| N amm (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.09
| N nitrico (mg/l) | INLET | SINGLE GRAB | YES | YES | 2.7
| P tot (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.03
| pH | OUTLET | SINGLE GRAB | YES | YES | 7.7
| SOS (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 15
| BOD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 7
| COD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 13
| N amm (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.16
| N nitrico (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 5.6
| P tot (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.06

## MAGGIO
DATE | ANALYSIS | LOCATION | METHOD | SAMPLING BY THIRD PARTY? | ANALYSIS BY THIRD PARTY? | RESULT
2020-05-18 | pH | INLET | SINGLE GRAB | YES | YES | 7.74
| SOS (mg/l) | INLET | SINGLE GRAB | YES | YES | 7
| BOD (mg/l) | INLET | SINGLE GRAB | YES | YES | 2
| COD (mg/l) | INLET | SINGLE GRAB | YES | YES | 10
| N amm (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.17
| N nitrico (mg/l) | INLET | SINGLE GRAB | YES | YES | 3
| P tot (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.04
| pH | OUTLET | SINGLE GRAB | YES | YES | 7.54
| SOS (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 14
| BOD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 4
| COD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 11
| N amm (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.19
| N nitrico (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 5.7
| P tot (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.06

## GIUGNO
DATE | ANALYSIS | LOCATION | METHOD | SAMPLING BY THIRD PARTY? | ANALYSIS BY THIRD PARTY? | RESULT
2020-06-16 | pH | INLET | SINGLE GRAB | YES | YES | 7.65
| SOS (mg/l) | INLET | SINGLE GRAB | YES | YES | 8
| BOD (mg/l) | INLET | SINGLE GRAB | YES | YES | 2
| COD (mg/l) | INLET | SINGLE GRAB | YES | YES | 10
| N amm (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.16
| N nitrico (mg/l) | INLET | SINGLE GRAB | YES | YES | 3.4
| P tot (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.06
| pH | OUTLET | SINGLE GRAB | YES | YES | 7.7
| SOS (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 12
| BOD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 5
| COD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 13
| N amm (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.17
| N nitrico (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 5.7
| P tot (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.07

## LUGLIO
DATE | ANALYSIS | LOCATION | METHOD | SAMPLING BY THIRD PARTY? | ANALYSIS BY THIRD PARTY? | RESULT
2020-07-14 | pH | INLET | SINGLE GRAB | YES | YES | 7.7
| SOS (mg/l) | INLET | SINGLE GRAB | YES | YES | 12
| BOD (mg/l) | INLET | SINGLE GRAB | YES | YES | 5
| COD (mg/l) | INLET | SINGLE GRAB | YES | YES | 10
| N amm (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.16
| N nitrico (mg/l) | INLET | SINGLE GRAB | YES | YES | 3.2
| P tot (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.04
| pH | OUTLET | SINGLE GRAB | YES | YES | 7.64
| SOS (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 14
| BOD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 7
| COD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 15
| N amm (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.22
| N nitrico (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 5.5
| P tot (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.1

## AGOSTO
DATE | ANALYSIS | LOCATION | METHOD | SAMPLING BY THIRD PARTY? | ANALYSIS BY THIRD PARTY? | RESULT
2020-08-13 | pH | INLET | SINGLE GRAB | YES | YES | 7.69
| SOS (mg/l) | INLET | SINGLE GRAB | YES | YES | 14
| BOD (mg/l) | INLET | SINGLE GRAB | YES | YES | 4
| COD (mg/l) | INLET | SINGLE GRAB | YES | YES | 10
| N amm (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.18
| N nitrico (mg/l) | INLET | SINGLE GRAB | YES | YES | 3.2
| P tot (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.06
| pH | OUTLET | SINGLE GRAB | YES | YES | 7.59
| SOS (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 16
| BOD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 8
| COD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 19
| N amm (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.23
| N nitrico (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 5.7
| P tot (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.09

## SETTEMBRE
DATE | ANALYSIS | LOCATION | METHOD | SAMPLING BY THIRD PARTY? | ANALYSIS BY THIRD PARTY? | RESULT
2020-09-17 | pH | INLET | SINGLE GRAB | YES | YES | 7.6
| SOS (mg/l) | INLET | SINGLE GRAB | YES | YES | 11
| BOD (mg/l) | INLET | SINGLE GRAB | YES | YES | 3
| COD (mg/l) | INLET | SINGLE GRAB | YES | YES | 10
| N amm (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.16
| N nitrico (mg/l) | INLET | SINGLE GRAB | YES | YES | 3.4
| P tot (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.07
| pH | OUTLET | SINGLE GRAB | YES | YES | 7.68
| SOS (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 10
| BOD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 3
| COD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 7
| N amm (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.19
| N nitrico (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 5.8
| P tot (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.06

## OTTOBRE
DATE | ANALYSIS | LOCATION | METHOD | SAMPLING BY THIRD PARTY? | ANALYSIS BY THIRD PARTY? | RESULT
2020-10-15 | pH | INLET | SINGLE GRAB | YES | YES | 7.68
| SOS (mg/l) | INLET | SINGLE GRAB | YES | YES | 6
| BOD (mg/l) | INLET | SINGLE GRAB | YES | YES | 2
| COD (mg/l) | INLET | SINGLE GRAB | YES | YES | 10
| N amm (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.13
| N nitrico (mg/l) | INLET | SINGLE GRAB | YES | YES | 3.4
| P tot (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.04
| pH | OUTLET | SINGLE GRAB | YES | YES | 7.62
| SOS (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 11
| BOD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 3
| COD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 7
| N amm (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.16
| N nitrico (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 5.8
| P tot (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.06

## NOVEMBRE
DATE | ANALYSIS | LOCATION | METHOD | SAMPLING BY THIRD PARTY? | ANALYSIS BY THIRD PARTY? | RESULT
2020-11-16 | pH | INLET | SINGLE GRAB | YES | YES | 7.64
| SOS (mg/l) | INLET | SINGLE GRAB | YES | YES | 4
| BOD (mg/l) | INLET | SINGLE GRAB | YES | YES | 1
| COD (mg/l) | INLET | SINGLE GRAB | YES | YES | 10
| N amm (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.16
| N nitrico (mg/l) | INLET | SINGLE GRAB | YES | YES | 3.6
| P tot (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.05
| pH | OUTLET | SINGLE GRAB | YES | YES | 7.53
| SOS (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 10
| BOD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 4
| COD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 8
| N amm (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.15
| N nitrico (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 6
| P tot (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.04

## DICEMBRE
DATE | ANALYSIS | LOCATION | METHOD | SAMPLING BY THIRD PARTY? | ANALYSIS BY THIRD PARTY? | RESULT
2020-12-16 | pH | INLET | SINGLE GRAB | YES | YES | 7.6
| SOS (mg/l) | INLET | SINGLE GRAB | YES | YES | 6
| BOD (mg/l) | INLET | SINGLE GRAB | YES | YES | 3
| COD (mg/l) | INLET | SINGLE GRAB | YES | YES | 10
| N amm (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.15
| N nitrico (mg/l) | INLET | SINGLE GRAB | YES | YES | 3.9
| P tot (mg/l) | INLET | SINGLE GRAB | YES | YES | 0.06
| pH | OUTLET | SINGLE GRAB | YES | YES | 7.6
| SOS (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 14
| BOD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 5
| COD (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 11
| N amm (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.1
| N nitroso (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.18
| N nitrico (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 5.9
| P tot (mg/l) | OUTLET | SINGLE GRAB | YES | YES | 0.07

## SATURAZIONE OSSIGENO
ACQUA IN USCITA VASCHE ALLEVAMENTO
MESE | DATA RILEVAZIONE | OSSIGENO DISCIOLTO [mg/l] | TEMPERATURA | PRESSIONE [mmHg] | VALORE SATURAZIONE DI O2 [mg/l] | SATURAZIONE PERCENTUALE [%]
GENNAIO | 2020-01-16 | 10 | 11 | 751.12 | 11.0192 | 90.7507
FEBBRAIO | 2020-02-18 | 9.8 | 11 | 751.12 | 11.0192 | 88.9357
MARZO | 2020-03-17 | 10.1 | 11.5 | 751.12 | 10.8966 | 92.6898
APRILE | 2020-04-20 | 9.9 | 11.5 | 751.12 | 10.8966 | 90.8544
MAGGIO | 2020-05-18 | 10 | 11.9 | 751.12 | 10.7984 | 92.6059
GIUGNO | 2020-06-16 | 9.9 | 12 | 751.12 | 10.7739 | 91.8886
LUGLIO | 2020-07-14 | 9.5 | 11.6 | 751.12 | 10.872 | 87.3802
AGOSTO | 2020-08-13 | 9.6 | 12 | 751.12 | 10.7739 | 89.1041
SETTEMBRE | 2020-09-17 | 9.7 | 11.9 | 751.12 | 10.7984 | 89.8277
OTTOBRE | 2020-10-15 | 9.9 | 11.3 | 751.12 | 10.9456 | 90.4472
NOVEMBRE | 2020-11-16 | 9.7 | 10.8 | 751.12 | 11.067 | 87.6482
DICEMBRE | 2020-12-16 | 9.8 | 10.5 | 751.12 | 11.1466 | 87.9195
La % di saturazione di OD (concentrazione di ossigeno disciolto; in inglese DO) è data dal rapporto, in % appunto, tra l'effettiva quantità di OD e il massimo valore possibile in funzione della temperatura e dell'altitudine.
Altitudine TORRE= 95m.
Pressione in funzione dell'altitudine: p= 0,9877q; dove P=pressione in atm - q=altitudine in centinaia di metri (nel caso di TORRE q=0,95), da cui p=0,988311atm (751,12mm di Hg)
Dalla Tabella allegata si ottengono i valori di saturazione di O2 con interpolazione lineare dei dati in funzione della temperatura e della pressione
| °C | 760mm | 750mm | 751,12mm | valore saturazione (output)
temperatura più bassa | 9 | 11.62 | 11.46 | 11.5445 | 11.1466
temperatura più alta | 10 | 11.35 | 11.2 | 11.2792
temperatura rilevata (imput) | 10.5
temperatura più bassa | 11 | 11.09 | 10.94 | 11.0192 | 10.872
temperatura più alta | 12 | 10.84 | 10.7 | 10.7739
temperatura rilevata (imput) | 11.6
temperatura più bassa | 12 | 10.84 | 10.7 | 10.7739 | 10.7739
temperatura più alta | 13 | 10.6 | 10.46 | 10.5339
temperatura rilevata (imput) | 12